## U4U Comparison
Plant Name | Generation Utility | UOM | Gen Qty | BPC Gen Qty | Gen Diff % | U4U Plant | U4U Utility | UOM | Norm | Consumption Qty | BPC Qty | Qty Diff % | Credit
DMD - Utility Plant | Boiler Feed Water CCPP |  | 5281054.79 | 100907.317 | 5133.5697 | Dahej Manufacturing Division | AQUATREAT - 9240 MEKO OXYGEN SCAVENGER |  | 0.0013 | 6865.3712 | 0 | 0 | No
DMD - Utility Plant | Boiler Feed Water CCPP |  | 5281054.79 | 100907.317 | 5133.5697 | Dahej Manufacturing Division | CHEM CYCLO HEXY |  | 0.0011 | 5809.1603 | 0 | 0 | No
DMD - Utility Plant | Boiler Feed Water CCPP |  | 5281054.79 | 100907.317 | 5133.5697 | Dahej Manufacturing Division | CHEM MORPHOLENE |  | 1e-06 | 5.2811 | 0 | 0 | No
DMD - Utility Plant | Boiler Feed Water CCPP |  | 5281054.79 | 100907.317 | 5133.5697 | DMD - Utility Plant | D M Water |  | 0.356 | 1880055.5052 | 86780.2926 | 2066.4544 | No
DMD - Utility Plant | Boiler Feed Water CCPP |  | 5281054.79 | 100907.317 | 5133.5697 | DMD - Utility/Power Dist | POWER DIST. CCPP |  | 7.45 | 39343858.1855 | 0 | 0 | No
DMD - Utility Plant | Boiler Feed Water CCPP |  | 5281054.79 | 100907.317 | 5133.5697 | DMD - STG 3 Coal Power Plant | Ret steam condensate |  | 0.2 | 1056210.958 | 0 | 0 | No
DMD - Utility Plant | Boiler Feed Water CCPP |  | 5281054.79 | 100907.317 | 5133.5697 | DMD - STG 2 Coal Power Plant | Ret steam condensate |  | 0.2 | 1056210.958 | 0 | 0 | No
DMD - Utility Plant | Boiler Feed Water CCPP |  | 5281054.79 | 100907.317 | 5133.5697 | DMD - STG 1 Coal Power Plant | Ret steam condensate |  | 0.2 | 1056210.958 | 0 | 0 | No
DMD - Utility Plant | Boiler Feed Water CCPP |  | 5281054.79 | 100907.317 | 5133.5697 | DMD - Utility/Power Dist | SHP Steam_Dis CCPP |  | 0.23 | 1214642.6017 | 0 | 0 | No
DMD - Utility Plant | CCPP1 SHP STEAM |  | 1754791.86 | 0 | 0 | Dahej Manufacturing Division | BED MATERIAL FOR CCPP |  | 0.0015 | 2632.1878 | 0 | 0 | No
DMD - Utility Plant | CCPP1 SHP STEAM |  | 1754791.86 | 0 | 0 | Dahej Manufacturing Division | BIOMASS |  | 0.47454 | 832725.9484 | 0 | 0 | No
DMD - Utility Plant | CCPP1 SHP STEAM |  | 1754791.86 | 0 | 0 | DMD - Utility Plant | Boiler Feed Water CCPP |  | 1.02 | 1789887.6972 | 0 | 0 | No
DMD - Utility Plant | CCPP1 SHP STEAM |  | 1754791.86 | 0 | 0 | Dahej Manufacturing Division | CHEM TRISODIUM PHOSPHATE |  | 0.0002 | 350.9584 | 0 | 0 | No
DMD - Utility Plant | CCPP1 SHP STEAM |  | 1754791.86 | 0 | 0 | DMD - Utility Plant | Close-loop Cooling Water CCPP |  | 0.0014 | 2456.7086 | 0 | 0 | No
DMD - Utility Plant | CCPP1 SHP STEAM |  | 1754791.86 | 0 | 0 | DMD - Utility Plant | D M Water |  | 1.6e-05 | 28.0767 | 0 | 0 | No
DMD - Utility Plant | CCPP1 SHP STEAM |  | 1754791.86 | 0 | 0 | DMD - Utility Plant | EFFLUENT PTA/PET |  | 0.07 | 122835.4302 | 0 | 0 | No
DMD - Utility Plant | CCPP1 SHP STEAM |  | 1754791.86 | 0 | 0 | DMD - Utility Plant | Instrument air CCPP |  | 0.6375 | 1118679.8107 | 0 | 0 | No
DMD - Utility Plant | CCPP1 SHP STEAM |  | 1754791.86 | 0 | 0 | Dahej Manufacturing Division | Limestone chips |  | 0.00967 | 16968.8373 | 0 | 0 | No
DMD - Utility Plant | CCPP1 SHP STEAM |  | 1754791.86 | 0 | 0 | DMD - Utility Plant | PLANT AIR CCPP |  | 0.253 | 443962.3406 | 0 | 0 | No
DMD - Utility Plant | CCPP1 SHP STEAM |  | 1754791.86 | 0 | 0 | DMD - Utility/Power Dist | POWER DIST. CCPP |  | 10.1 | 17723397.786 | 0 | 0 | No
DMD - Utility Plant | CCPP1 SHP STEAM |  | 1754791.86 | 0 | 0 | DMD - Utility Plant | Service Water CCPP |  | 0.042 | 73701.2581 | 0 | 0 | No
DMD - Utility Plant | CCPP1 SHP STEAM |  | 1754791.86 | 0 | 0 | Dahej Manufacturing Division | Steam ( Non Coking ) Coal |  | 2.348 | 4120174.0764 | 0 | 0 | No
DMD - Utility Plant | CCPP2 SHP STEAM |  | 1754791.86 | 0 | 0 | Dahej Manufacturing Division | BED MATERIAL FOR CCPP |  | 0.0015 | 2632.1878 | 0 | 0 | No
DMD - Utility Plant | CCPP2 SHP STEAM |  | 1754791.86 | 0 | 0 | Dahej Manufacturing Division | BIOMASS |  | 0.47454 | 832725.9484 | 0 | 0 | No
DMD - Utility Plant | CCPP2 SHP STEAM |  | 1754791.86 | 0 | 0 | DMD - Utility Plant | Boiler Feed Water CCPP |  | 1.02 | 1789887.6972 | 0 | 0 | No
DMD - Utility Plant | CCPP2 SHP STEAM |  | 1754791.86 | 0 | 0 | Dahej Manufacturing Division | CHEM TRISODIUM PHOSPHATE |  | 0.0002 | 350.9584 | 0 | 0 | No
DMD - Utility Plant | CCPP2 SHP STEAM |  | 1754791.86 | 0 | 0 | DMD - Utility Plant | Close-loop Cooling Water CCPP |  | 0.0014 | 2456.7086 | 0 | 0 | No
DMD - Utility Plant | CCPP2 SHP STEAM |  | 1754791.86 | 0 | 0 | DMD - Utility Plant | D M Water |  | 1.6e-05 | 28.0767 | 0 | 0 | No
DMD - Utility Plant | CCPP2 SHP STEAM |  | 1754791.86 | 0 | 0 | DMD - Utility Plant | EFFLUENT PTA/PET |  | 0.07 | 122835.4302 | 0 | 0 | No
DMD - Utility Plant | CCPP2 SHP STEAM |  | 1754791.86 | 0 | 0 | DMD - Utility Plant | Instrument air CCPP |  | 0.6375 | 1118679.8107 | 0 | 0 | No
DMD - Utility Plant | CCPP2 SHP STEAM |  | 1754791.86 | 0 | 0 | Dahej Manufacturing Division | Limestone chips |  | 0.00967 | 16968.8373 | 0 | 0 | No
DMD - Utility Plant | CCPP2 SHP STEAM |  | 1754791.86 | 0 | 0 | DMD - Utility Plant | PLANT AIR CCPP |  | 0.253 | 443962.3406 | 0 | 0 | No
DMD - Utility Plant | CCPP2 SHP STEAM |  | 1754791.86 | 0 | 0 | DMD - Utility/Power Dist | POWER DIST. CCPP |  | 10.1 | 17723397.786 | 0 | 0 | No
DMD - Utility Plant | CCPP2 SHP STEAM |  | 1754791.86 | 0 | 0 | DMD - Utility Plant | Service Water CCPP |  | 0.042 | 73701.2581 | 0 | 0 | No
DMD - Utility Plant | CCPP2 SHP STEAM |  | 1754791.86 | 0 | 0 | Dahej Manufacturing Division | Steam ( Non Coking ) Coal |  | 2.348 | 4120174.0764 | 0 | 0 | No
DMD - Utility Plant | CCPP3 SHP STEAM |  | 1754791.86 | 0 | 0 | Dahej Manufacturing Division | BED MATERIAL FOR CCPP |  | 0.0015 | 2632.1878 | 0 | 0 | No
DMD - Utility Plant | CCPP3 SHP STEAM |  | 1754791.86 | 0 | 0 | Dahej Manufacturing Division | BIOMASS |  | 0.47454 | 832725.9484 | 0 | 0 | No
DMD - Utility Plant | CCPP3 SHP STEAM |  | 1754791.86 | 0 | 0 | DMD - Utility Plant | Boiler Feed Water CCPP |  | 1.02 | 1789887.6972 | 0 | 0 | No
DMD - Utility Plant | CCPP3 SHP STEAM |  | 1754791.86 | 0 | 0 | Dahej Manufacturing Division | CHEM TRISODIUM PHOSPHATE |  | 0.0002 | 350.9584 | 0 | 0 | No
DMD - Utility Plant | CCPP3 SHP STEAM |  | 1754791.86 | 0 | 0 | DMD - Utility Plant | Close-loop Cooling Water CCPP |  | 0.0014 | 2456.7086 | 0 | 0 | No
DMD - Utility Plant | CCPP3 SHP STEAM |  | 1754791.86 | 0 | 0 | DMD - Utility Plant | D M Water |  | 1.6e-05 | 28.0767 | 0 | 0 | No
DMD - Utility Plant | CCPP3 SHP STEAM |  | 1754791.86 | 0 | 0 | DMD - Utility Plant | EFFLUENT PTA/PET |  | 0.07 | 122835.4302 | 0 | 0 | No
DMD - Utility Plant | CCPP3 SHP STEAM |  | 1754791.86 | 0 | 0 | DMD - Utility Plant | Instrument air CCPP |  | 0.6375 | 1118679.8107 | 0 | 0 | No
DMD - Utility Plant | CCPP3 SHP STEAM |  | 1754791.86 | 0 | 0 | Dahej Manufacturing Division | Limestone chips |  | 0.00967 | 16968.8373 | 0 | 0 | No
DMD - Utility Plant | CCPP3 SHP STEAM |  | 1754791.86 | 0 | 0 | DMD - Utility Plant | PLANT AIR CCPP |  | 0.253 | 443962.3406 | 0 | 0 | No
DMD - Utility Plant | CCPP3 SHP STEAM |  | 1754791.86 | 0 | 0 | DMD - Utility/Power Dist | POWER DIST. CCPP |  | 10.1 | 17723397.786 | 0 | 0 | No
DMD - Utility Plant | CCPP3 SHP STEAM |  | 1754791.86 | 0 | 0 | DMD - Utility Plant | Service Water CCPP |  | 0.042 | 73701.2581 | 0 | 0 | No
DMD - Utility Plant | CCPP3 SHP STEAM |  | 1754791.86 | 0 | 0 | Dahej Manufacturing Division | Steam ( Non Coking ) Coal |  | 2.348 | 4120174.0764 | 0 | 0 | No
DMD - Utility Plant | CCPP4 SHP STEAM |  | 1754791.86 | 0 | 0 | Dahej Manufacturing Division | BED MATERIAL FOR CCPP |  | 0.0015 | 2632.1878 | 0 | 0 | No
DMD - Utility Plant | CCPP4 SHP STEAM |  | 1754791.86 | 0 | 0 | Dahej Manufacturing Division | BIOMASS |  | 0.47454 | 832725.9484 | 0 | 0 | No
DMD - Utility Plant | CCPP4 SHP STEAM |  | 1754791.86 | 0 | 0 | DMD - Utility Plant | Boiler Feed Water CCPP |  | 1.02 | 1789887.6972 | 0 | 0 | No
DMD - Utility Plant | CCPP4 SHP STEAM |  | 1754791.86 | 0 | 0 | Dahej Manufacturing Division | CHEM TRISODIUM PHOSPHATE |  | 0.0002 | 350.9584 | 0 | 0 | No
DMD - Utility Plant | CCPP4 SHP STEAM |  | 1754791.86 | 0 | 0 | DMD - Utility Plant | Close-loop Cooling Water CCPP |  | 0.0014 | 2456.7086 | 0 | 0 | No
DMD - Utility Plant | CCPP4 SHP STEAM |  | 1754791.86 | 0 | 0 | DMD - Utility Plant | D M Water |  | 1.6e-05 | 28.0767 | 0 | 0 | No
DMD - Utility Plant | CCPP4 SHP STEAM |  | 1754791.86 | 0 | 0 | DMD - Utility Plant | EFFLUENT PTA/PET |  | 0.07 | 122835.4302 | 0 | 0 | No
DMD - Utility Plant | CCPP4 SHP STEAM |  | 1754791.86 | 0 | 0 | DMD - Utility Plant | Instrument air CCPP |  | 0.6375 | 1118679.8107 | 0 | 0 | No
DMD - Utility Plant | CCPP4 SHP STEAM |  | 1754791.86 | 0 | 0 | Dahej Manufacturing Division | Limestone chips |  | 0.00967 | 16968.8373 | 0 | 0 | No
DMD - Utility Plant | CCPP4 SHP STEAM |  | 1754791.86 | 0 | 0 | DMD - Utility Plant | PLANT AIR CCPP |  | 0.253 | 443962.3406 | 0 | 0 | No
DMD - Utility Plant | CCPP4 SHP STEAM |  | 1754791.86 | 0 | 0 | DMD - Utility/Power Dist | POWER DIST. CCPP |  | 10.1 | 17723397.786 | 0 | 0 | No
DMD - Utility Plant | CCPP4 SHP STEAM |  | 1754791.86 | 0 | 0 | DMD - Utility Plant | Service Water CCPP |  | 0.042 | 73701.2581 | 0 | 0 | No
DMD - Utility Plant | CCPP4 SHP STEAM |  | 1754791.86 | 0 | 0 | Dahej Manufacturing Division | Steam ( Non Coking ) Coal |  | 2.348 | 4120174.0764 | 0 | 0 | No
DMD - Utility Plant | Close-loop Cooling Water CCPP |  | 386501.7 | 0 | 0 | Dahej Manufacturing Division | BIOCIDE,AQUA TREAT-3381 |  | 0.009 | 3478.5153 | 0 | 0 | No
DMD - Utility Plant | Close-loop Cooling Water CCPP |  | 386501.7 | 0 | 0 | Dahej Manufacturing Division | CHEM AQUATR2725G |  | 0.018 | 6957.0306 | 0 | 0 | No
DMD - Utility Plant | Close-loop Cooling Water CCPP |  | 386501.7 | 0 | 0 | Dahej Manufacturing Division | CHEM AQUATREAT-3321N |  | 0.003 | 1159.5051 | 0 | 0 | No
DMD - Utility Plant | Close-loop Cooling Water CCPP |  | 386501.7 | 0 | 0 | DMD - Utility Plant | Cooling Water CCPP |  | 0.125 | 48312.7125 | 0 | 0 | No
DMD - Utility Plant | Close-loop Cooling Water CCPP |  | 386501.7 | 0 | 0 | DMD - Utility Plant | D M Water |  | 0.168 | 64932.2856 | 0 | 0 | No
DMD - Utility Plant | Close-loop Cooling Water CCPP |  | 386501.7 | 0 | 0 | DMD - Utility/Power Dist | POWER DIST. CCPP |  | 230 | 88895391 | 0 | 0 | No
DMD - Utility Plant | Cooling Water CCPP |  | 6625.04 | 0 | 0 | DMD - Utility Plant | Cooling water D11 |  | 0.33333 | 2208.3445 | 0 | 0 | No
DMD - Utility Plant | Cooling Water CCPP |  | 6625.04 | 0 | 0 | DMD - Utility Plant | Cooling water D12 |  | 0.33333 | 2208.3445 | 0 | 0 | No
DMD - Utility Plant | Cooling Water CCPP |  | 6625.04 | 0 | 0 | DMD - Utility Plant | Cooling water D13 |  | 0.33333 | 2208.3445 | 0 | 0 | No
DMD - Utility Plant | Cooling water D11 |  | 2208.3445 | 0 | 0 | Dahej Manufacturing Division | CHEM CAT CORROCIL-125 |  | 0.007 | 15.4584 | 0 | 0 | No
DMD - Utility Plant | Cooling water D11 |  | 2208.3445 | 0 | 0 | Dahej Manufacturing Division | CHEM CHLORINE |  | 0.188 | 415.1688 | 0 | 0 | No
DMD - Utility Plant | Cooling water D11 |  | 2208.3445 | 0 | 0 | Dahej Manufacturing Division | CHEM SULPHURIC ACID 1.84 KG/M3 |  | 1.283 | 2833.3059 | 0 | 0 | No
DMD - Utility Plant | Cooling water D11 |  | 2208.3445 | 0 | 0 | Dahej Manufacturing Division | CHEM,BIONIL-103C |  | 0.023 | 50.7919 | 0 | 0 | No
DMD - Utility Plant | Cooling water D11 |  | 2208.3445 | 0 | 0 | Dahej Manufacturing Division | CHEM,BIONIL-1103 |  | 0.004 | 8.8334 | 0 | 0 | No
DMD - Utility Plant | Cooling water D11 |  | 2208.3445 | 0 | 0 | Dahej Manufacturing Division | CHEM,BIONIL-2103 |  | 0.003 | 6.625 | 0 | 0 | No
DMD - Utility Plant | Cooling water D11 |  | 2208.3445 | 0 | 0 | Dahej Manufacturing Division | CHEM,BIONIL-3103 |  | 0.006 | 13.2501 | 0 | 0 | No
DMD - Utility Plant | Cooling water D11 |  | 2208.3445 | 0 | 0 | Dahej Manufacturing Division | CORROCIL-122 |  | 0.025 | 55.2086 | 0 | 0 | No
DMD - Utility Plant | Cooling water D11 |  | 2208.3445 | 0 | 0 | DMD - Utility Plant | Filter Water |  | 10 | 22083.4446 | 0 | 0 | No
DMD - Utility Plant | Cooling water D11 |  | 2208.3445 | 0 | 0 | DMD - Utility/Power Dist | POWER DIST. CCPP |  | 107.9 | 238280.3671 | 0 | 0 | No
DMD - Utility Plant | Cooling water D11 |  | 2208.3445 | 0 | 0 | Dahej Manufacturing Division | SCACIL- 122 |  | 0.081 | 178.8759 | 0 | 0 | No
DMD - Utility Plant | Cooling water D11 |  | 2208.3445 | 0 | 0 | Dahej Manufacturing Division | SCACIL-122H |  | 0.01 | 22.0834 | 0 | 0 | No
DMD - Utility Plant | Cooling water D11 |  | 2208.3445 | 0 | 0 | Dahej Manufacturing Division | SCACIL-4122 |  | 0.011 | 24.2918 | 0 | 0 | No
DMD - Utility Plant | Cooling water D12 |  | 2208.3445 | 0 | 0 | Dahej Manufacturing Division | CHEM CAT CORROCIL-125 |  | 0.007 | 15.4584 | 0 | 0 | No
DMD - Utility Plant | Cooling water D12 |  | 2208.3445 | 0 | 0 | Dahej Manufacturing Division | CHEM CHLORINE |  | 0.188 | 415.1688 | 0 | 0 | No
DMD - Utility Plant | Cooling water D12 |  | 2208.3445 | 0 | 0 | Dahej Manufacturing Division | CHEM SULPHURIC ACID 1.84 KG/M3 |  | 1.283 | 2833.3059 | 0 | 0 | No
DMD - Utility Plant | Cooling water D12 |  | 2208.3445 | 0 | 0 | Dahej Manufacturing Division | CHEM,BIONIL-103C |  | 0.023 | 50.7919 | 0 | 0 | No
DMD - Utility Plant | Cooling water D12 |  | 2208.3445 | 0 | 0 | Dahej Manufacturing Division | CHEM,BIONIL-1103 |  | 0.004 | 8.8334 | 0 | 0 | No
DMD - Utility Plant | Cooling water D12 |  | 2208.3445 | 0 | 0 | Dahej Manufacturing Division | CHEM,BIONIL-2103 |  | 0.003 | 6.625 | 0 | 0 | No
DMD - Utility Plant | Cooling water D12 |  | 2208.3445 | 0 | 0 | Dahej Manufacturing Division | CHEM,BIONIL-3103 |  | 0.006 | 13.2501 | 0 | 0 | No
DMD - Utility Plant | Cooling water D12 |  | 2208.3445 | 0 | 0 | Dahej Manufacturing Division | CORROCIL-122 |  | 0.025 | 55.2086 | 0 | 0 | No
DMD - Utility Plant | Cooling water D12 |  | 2208.3445 | 0 | 0 | DMD - Utility Plant | Filter Water |  | 10 | 22083.4446 | 0 | 0 | No
DMD - Utility Plant | Cooling water D12 |  | 2208.3445 | 0 | 0 | DMD - Utility/Power Dist | POWER DIST. CCPP |  | 107.9 | 238280.3671 | 0 | 0 | No
DMD - Utility Plant | Cooling water D12 |  | 2208.3445 | 0 | 0 | Dahej Manufacturing Division | SCACIL- 122 |  | 0.081 | 178.8759 | 0 | 0 | No
DMD - Utility Plant | Cooling water D12 |  | 2208.3445 | 0 | 0 | Dahej Manufacturing Division | SCACIL-122H |  | 0.01 | 22.0834 | 0 | 0 | No
DMD - Utility Plant | Cooling water D12 |  | 2208.3445 | 0 | 0 | Dahej Manufacturing Division | SCACIL-4122 |  | 0.011 | 24.2918 | 0 | 0 | No
DMD - Utility Plant | Cooling water D13 |  | 2208.3445 | 0 | 0 | Dahej Manufacturing Division | CHEM CAT CORROCIL-125 |  | 0.007 | 15.4584 | 0 | 0 | No
DMD - Utility Plant | Cooling water D13 |  | 2208.3445 | 0 | 0 | Dahej Manufacturing Division | CHEM CHLORINE |  | 0.188 | 415.1688 | 0 | 0 | No
DMD - Utility Plant | Cooling water D13 |  | 2208.3445 | 0 | 0 | Dahej Manufacturing Division | CHEM SULPHURIC ACID 1.84 KG/M3 |  | 1.283 | 2833.3059 | 0 | 0 | No
DMD - Utility Plant | Cooling water D13 |  | 2208.3445 | 0 | 0 | Dahej Manufacturing Division | CHEM,BIONIL-103C |  | 0.023 | 50.7919 | 0 | 0 | No
DMD - Utility Plant | Cooling water D13 |  | 2208.3445 | 0 | 0 | Dahej Manufacturing Division | CHEM,BIONIL-1103 |  | 0.004 | 8.8334 | 0 | 0 | No
DMD - Utility Plant | Cooling water D13 |  | 2208.3445 | 0 | 0 | Dahej Manufacturing Division | CHEM,BIONIL-2103 |  | 0.003 | 6.625 | 0 | 0 | No
DMD - Utility Plant | Cooling water D13 |  | 2208.3445 | 0 | 0 | Dahej Manufacturing Division | CHEM,BIONIL-3103 |  | 0.006 | 13.2501 | 0 | 0 | No
DMD - Utility Plant | Cooling water D13 |  | 2208.3445 | 0 | 0 | Dahej Manufacturing Division | CORROCIL-122 |  | 0.025 | 55.2086 | 0 | 0 | No
DMD - Utility Plant | Cooling water D13 |  | 2208.3445 | 0 | 0 | DMD - Utility Plant | Filter Water |  | 10 | 22083.4446 | 0 | 0 | No
DMD - Utility Plant | Cooling water D13 |  | 2208.3445 | 0 | 0 | DMD - Utility/Power Dist | POWER DIST. CCPP |  | 107.9 | 238280.3671 | 0 | 0 | No
DMD - Utility Plant | Cooling water D13 |  | 2208.3445 | 0 | 0 | Dahej Manufacturing Division | SCACIL- 122 |  | 0.081 | 178.8759 | 0 | 0 | No
DMD - Utility Plant | Cooling water D13 |  | 2208.3445 | 0 | 0 | Dahej Manufacturing Division | SCACIL-122H |  | 0.01 | 22.0834 | 0 | 0 | No
DMD - Utility Plant | Cooling water D13 |  | 2208.3445 | 0 | 0 | Dahej Manufacturing Division | SCACIL-4122 |  | 0.011 | 24.2918 | 0 | 0 | No
DMD - Utility Plant | Cooling water D2 |  | 421.2515 | 0 | 0 | Dahej Manufacturing Division | AQUATREAT 3337 |  | 0.06 | 25.2751 | 0 | 0 | No
DMD - Utility Plant | Cooling water D2 |  | 421.2515 | 0 | 0 | Dahej Manufacturing Division | AQUATREAT 3391 |  | 0.06 | 25.2751 | 0 | 0 | No
DMD - Utility Plant | Cooling water D2 |  | 421.2515 | 0 | 0 | Dahej Manufacturing Division | CHEM AQUA TREAT - AT - 2574 |  | 0.1 | 42.1252 | 0 | 0 | No
DMD - Utility Plant | Cooling water D2 |  | 421.2515 | 0 | 0 | Dahej Manufacturing Division | CHEM AQUATREAT 1198 |  | 0.025 | 10.5313 | 0 | 0 | No
DMD - Utility Plant | Cooling water D2 |  | 421.2515 | 0 | 0 | Dahej Manufacturing Division | CHEM AQUATREAT 2505 |  | 0.02 | 8.425 | 0 | 0 | No
DMD - Utility Plant | Cooling water D2 |  | 421.2515 | 0 | 0 | Dahej Manufacturing Division | CHEM AQUATREAT 3341 |  | 0.04 | 16.8501 | 0 | 0 | No
DMD - Utility Plant | Cooling water D2 |  | 421.2515 | 0 | 0 | Dahej Manufacturing Division | CHEM AQUATREAT 4650 |  | 0.01 | 4.2125 | 0 | 0 | No
DMD - Utility Plant | Cooling water D2 |  | 421.2515 | 0 | 0 | Dahej Manufacturing Division | CHEM AQUATREAT 7205 |  | 0.2 | 84.2503 | 0 | 0 | No
DMD - Utility Plant | Cooling water D2 |  | 421.2515 | 0 | 0 | Dahej Manufacturing Division | CHEM AQUATREAT-1555 |  | 0.006696 | 2.8207 | 0 | 0 | No
DMD - Utility Plant | Cooling water D2 |  | 421.2515 | 0 | 0 | Dahej Manufacturing Division | CHEM AQUATREAT-727 |  | 0.001759 | 0.74098 | 0 | 0 | No
DMD - Utility Plant | Cooling water D2 |  | 421.2515 | 0 | 0 | Dahej Manufacturing Division | CHEM AQUATREAT-792 |  | 0.000676 | 0.28477 | 0 | 0 | No
DMD - Utility Plant | Cooling water D2 |  | 421.2515 | 0 | 0 | Dahej Manufacturing Division | CHEM CHLORINE |  | 0.188 | 79.1953 | 0 | 0 | No
DMD - Utility Plant | Cooling water D2 |  | 421.2515 | 0 | 0 | Dahej Manufacturing Division | CHEM SULPHURIC ACID 1.84 KG/M3 |  | 0.7 | 294.8761 | 0 | 0 | No
DMD - Utility Plant | Cooling water D2 |  | 421.2515 | 0 | 0 | DMD - Utility Plant | Filter Water |  | 8 | 3370.0123 | 0 | 0 | No
DMD - Utility Plant | Cooling water D2 |  | 421.2515 | 0 | 0 | DMD - Utility Plant | Instrument air |  | 0.06 | 25.2751 | 0 | 0 | No
DMD - Utility Plant | Cooling water D2 |  | 421.2515 | 0 | 0 | DMD - Utility Plant | PLANT AIR |  | 0.119 | 50.1289 | 0 | 0 | No
DMD - Utility Plant | Cooling water D2 |  | 421.2515 | 0 | 0 | DMD - Utility/Power Dist | Power_Dis |  | 195 | 82144.0497 | 0 | 0 | No
DMD - Utility Plant | Cooling water D2 |  | 421.2515 | 0 | 0 | Dahej Manufacturing Division | SAND,FILTER,SIZE: 0.8 TO 1 MM |  | 0.185 | 77.9315 | 0 | 0 | No
DMD - Utility Plant | Cooling water D4 |  | 4287.9486 | 0 | 0 | Dahej Manufacturing Division | AQUATREAT 3337 |  | 0.06 | 257.2769 | 0 | 0 | No
DMD - Utility Plant | Cooling water D4 |  | 4287.9486 | 0 | 0 | Dahej Manufacturing Division | AQUATREAT 3391 |  | 0.06 | 257.2769 | 0 | 0 | No
DMD - Utility Plant | Cooling water D4 |  | 4287.9486 | 0 | 0 | Dahej Manufacturing Division | CHEM AQUA TREAT - AT - 2574 |  | 0.0041 | 17.5806 | 0 | 0 | No
DMD - Utility Plant | Cooling water D4 |  | 4287.9486 | 0 | 0 | Dahej Manufacturing Division | CHEM AQUATREAT 1198 |  | 0.025 | 107.1987 | 0 | 0 | No
DMD - Utility Plant | Cooling water D4 |  | 4287.9486 | 0 | 0 | Dahej Manufacturing Division | CHEM AQUATREAT 2505 |  | 0.02 | 85.759 | 0 | 0 | No
DMD - Utility Plant | Cooling water D4 |  | 4287.9486 | 0 | 0 | Dahej Manufacturing Division | CHEM AQUATREAT 3341 |  | 0.04 | 171.5179 | 0 | 0 | No
DMD - Utility Plant | Cooling water D4 |  | 4287.9486 | 0 | 0 | Dahej Manufacturing Division | CHEM AQUATREAT 4650 |  | 0.01 | 42.8795 | 0 | 0 | No
DMD - Utility Plant | Cooling water D4 |  | 4287.9486 | 0 | 0 | Dahej Manufacturing Division | CHEM AQUATREAT 7205 |  | 0.0025 | 10.7199 | 0 | 0 | No
DMD - Utility Plant | Cooling water D4 |  | 4287.9486 | 0 | 0 | Dahej Manufacturing Division | CHEM AQUATREAT-1555 |  | 0.008 | 34.3036 | 0 | 0 | No
DMD - Utility Plant | Cooling water D4 |  | 4287.9486 | 0 | 0 | Dahej Manufacturing Division | CHEM AQUATREAT-727 |  | 0.001 | 4.2879 | 0 | 0 | No
DMD - Utility Plant | Cooling water D4 |  | 4287.9486 | 0 | 0 | Dahej Manufacturing Division | CHEM AQUATREAT-792 |  | 0.001 | 4.2879 | 0 | 0 | No
DMD - Utility Plant | Cooling water D4 |  | 4287.9486 | 0 | 0 | Dahej Manufacturing Division | CHEM CHLORINE |  | 0.188 | 806.1343 | 0 | 0 | No
DMD - Utility Plant | Cooling water D4 |  | 4287.9486 | 0 | 0 | Dahej Manufacturing Division | CHEM SULPHURIC ACID 1.84 KG/M3 |  | 0.8 | 3430.3589 | 0 | 0 | No
DMD - Utility Plant | Cooling water D4 |  | 4287.9486 | 0 | 0 | DMD - Utility Plant | Filter Water |  | 10 | 42879.4858 | 0 | 0 | No
DMD - Utility Plant | Cooling water D4 |  | 4287.9486 | 0 | 0 | Dahej Manufacturing Division | INHIBITOR,CORROSION,AQUA TREAT-2572H |  | 0.004317 | 18.5111 | 0 | 0 | No
DMD - Utility Plant | Cooling water D4 |  | 4287.9486 | 0 | 0 | DMD - Utility Plant | Instrument air |  | 0.07 | 300.1564 | 0 | 0 | No
DMD - Utility Plant | Cooling water D4 |  | 4287.9486 | 0 | 0 | DMD - Utility Plant | PLANT AIR |  | 0.199 | 853.3018 | 0 | 0 | No
DMD - Utility Plant | Cooling water D4 |  | 4287.9486 | 0 | 0 | DMD - Utility/Power Dist | Power_Dis |  | 235 | 1007667.9153 | 0 | 0 | No
DMD - Utility Plant | Cooling water D5 |  | 569.8251 | 0 | 0 | Dahej Manufacturing Division | AQUATREAT 3337 |  | 0.06 | 34.1895 | 0 | 0 | No
DMD - Utility Plant | Cooling water D5 |  | 569.8251 | 0 | 0 | Dahej Manufacturing Division | AQUATREAT 3391 |  | 0.06 | 34.1895 | 0 | 0 | No
DMD - Utility Plant | Cooling water D5 |  | 569.8251 | 0 | 0 | Dahej Manufacturing Division | CHEM AQUA TREAT - AT - 2574 |  | 0.00432 | 2.4616 | 0 | 0 | No
DMD - Utility Plant | Cooling water D5 |  | 569.8251 | 0 | 0 | Dahej Manufacturing Division | CHEM AQUATREAT 1198 |  | 0.025 | 14.2456 | 0 | 0 | No
DMD - Utility Plant | Cooling water D5 |  | 569.8251 | 0 | 0 | Dahej Manufacturing Division | CHEM AQUATREAT 2505 |  | 0.02 | 11.3965 | 0 | 0 | No
DMD - Utility Plant | Cooling water D5 |  | 569.8251 | 0 | 0 | Dahej Manufacturing Division | CHEM AQUATREAT 3341 |  | 0.04 | 22.793 | 0 | 0 | No
DMD - Utility Plant | Cooling water D5 |  | 569.8251 | 0 | 0 | Dahej Manufacturing Division | CHEM AQUATREAT 4650 |  | 0.01 | 5.6983 | 0 | 0 | No
DMD - Utility Plant | Cooling water D5 |  | 569.8251 | 0 | 0 | Dahej Manufacturing Division | CHEM AQUATREAT 7205 |  | 0.0025 | 1.4246 | 0 | 0 | No
DMD - Utility Plant | Cooling water D5 |  | 569.8251 | 0 | 0 | Dahej Manufacturing Division | CHEM AQUATREAT-1555 |  | 0.010664 | 6.0766 | 0 | 0 | No
DMD - Utility Plant | Cooling water D5 |  | 569.8251 | 0 | 0 | Dahej Manufacturing Division | CHEM AQUATREAT-727 |  | 0.00108 | 0.61541 | 0 | 0 | No
DMD - Utility Plant | Cooling water D5 |  | 569.8251 | 0 | 0 | Dahej Manufacturing Division | CHEM AQUATREAT-792 |  | 0.0137 | 7.8066 | 0 | 0 | No
DMD - Utility Plant | Cooling water D5 |  | 569.8251 | 0 | 0 | Dahej Manufacturing Division | CHEM CHLORINE |  | 0.188 | 107.1271 | 0 | 0 | No
DMD - Utility Plant | Cooling water D5 |  | 569.8251 | 0 | 0 | Dahej Manufacturing Division | CHEM SULPHURIC ACID 1.84 KG/M3 |  | 1 | 569.8251 | 0 | 0 | No
DMD - Utility Plant | Cooling water D5 |  | 569.8251 | 0 | 0 | DMD - Utility Plant | Filter Water |  | 8 | 4558.6011 | 0 | 0 | No
DMD - Utility Plant | Cooling water D5 |  | 569.8251 | 0 | 0 | DMD - Utility Plant | Instrument air |  | 0.06 | 34.1895 | 0 | 0 | No
DMD - Utility Plant | Cooling water D5 |  | 569.8251 | 0 | 0 | DMD - Utility Plant | PLANT AIR |  | 0.0638 | 36.3548 | 0 | 0 | No
DMD - Utility Plant | Cooling water D5 |  | 569.8251 | 0 | 0 | DMD - Utility/Power Dist | Power_Dis |  | 210 | 119663.2787 | 0 | 0 | No
DMD - Utility Plant | Cooling water D5 |  | 569.8251 | 0 | 0 | Dahej Manufacturing Division | SAND,FILTER,SIZE: 0.8 TO 1 MM |  | 0.00951 | 5.419 | 0 | 0 | No
DMD - Utility Plant | Cooling water D9 |  | 1136.4703 | 0 | 0 | Dahej Manufacturing Division | CHEM CHLORINE |  | 0.188 | 213.6564 | 0 | 0 | No
DMD - Utility Plant | Cooling water D9 |  | 1136.4703 | 0 | 0 | Dahej Manufacturing Division | CHEM CORROCIL-335 |  | 0.0214 | 24.3205 | 0 | 0 | No
DMD - Utility Plant | Cooling water D9 |  | 1136.4703 | 0 | 0 | Dahej Manufacturing Division | CHEM SULPHURIC ACID 1.84 KG/M3 |  | 0.5 | 568.2351 | 0 | 0 | No
DMD - Utility Plant | Cooling water D9 |  | 1136.4703 | 0 | 0 | Dahej Manufacturing Division | CHEM,BIONIL-103C |  | 0.1382 | 157.0602 | 0 | 0 | No
DMD - Utility Plant | Cooling water D9 |  | 1136.4703 | 0 | 0 | Dahej Manufacturing Division | CHEM,BIONIL-1103 |  | 0.02197 | 24.9683 | 0 | 0 | No
DMD - Utility Plant | Cooling water D9 |  | 1136.4703 | 0 | 0 | Dahej Manufacturing Division | CHEM,BIONIL-2103 |  | 0.0316 | 35.9125 | 0 | 0 | No
DMD - Utility Plant | Cooling water D9 |  | 1136.4703 | 0 | 0 | Dahej Manufacturing Division | CHEM,BIONIL-3103 |  | 0.00598 | 6.7961 | 0 | 0 | No
DMD - Utility Plant | Cooling water D9 |  | 1136.4703 | 0 | 0 | Dahej Manufacturing Division | CHEM,CORROCIL-103,CORROSION INHIBITOR |  | 0.05 | 56.8235 | 0 | 0 | No
DMD - Utility Plant | Cooling water D9 |  | 1136.4703 | 0 | 0 | Dahej Manufacturing Division | CHEM,SCACIL-103A |  | 0.10188 | 115.7836 | 0 | 0 | No
DMD - Utility Plant | Cooling water D9 |  | 1136.4703 | 0 | 0 | Dahej Manufacturing Division | CHEM,SCACIL-103HS |  | 0.10188 | 115.7836 | 0 | 0 | No
DMD - Utility Plant | Cooling water D9 |  | 1136.4703 | 0 | 0 | Dahej Manufacturing Division | CHEM,SCACIL-4103 |  | 0.00598 | 6.7961 | 0 | 0 | No
DMD - Utility Plant | Cooling water D9 |  | 1136.4703 | 0 | 0 | DMD - Utility Plant | Filter Water |  | 8 | 9091.7624 | 0 | 0 | No
DMD - Utility Plant | Cooling water D9 |  | 1136.4703 | 0 | 0 | Dahej Manufacturing Division | INHIBITOR,MOLYBDATE BASED;CORROCIL-103M |  | 0.1 | 113.647 | 0 | 0 | No
DMD - Utility Plant | Cooling water D9 |  | 1136.4703 | 0 | 0 | DMD - Utility/Power Dist | Power_Dis |  | 295 | 335258.737 | 0 | 0 | No
DMD - Utility Plant | EFFLUENT PTA/PET |  | 491341.7208 | 0 | 0 | Dahej Manufacturing Division | ACID CATION RESIN,INDION-236H |  | 0.001 | 491.3417 | 0 | 0 | No
DMD - Utility Plant | EFFLUENT PTA/PET |  | 491341.7208 | 0 | 0 | Dahej Manufacturing Division | ANTIFOAM, FOAMTROL AF1440 |  | 0.0002 | 98.2683 | 0 | 0 | No
DMD - Utility Plant | EFFLUENT PTA/PET |  | 491341.7208 | 0 | 0 | Dahej Manufacturing Division | CALCIUM CHLORIDE CRYSTAL,ANHYDROUS,94% |  | 0.0373 | 18327.0462 | 0 | 0 | No
DMD - Utility Plant | EFFLUENT PTA/PET |  | 491341.7208 | 0 | 0 | DMD - CHLOR ALKALI | CAUSTIC SODA LYE – GRADE 1 |  | 0.0005 | 245.6709 | 0 | 0 | No
DMD - Utility Plant | EFFLUENT PTA/PET |  | 491341.7208 | 0 | 0 | Dahej Manufacturing Division | CHEM CAT ANTISCALANT GENESYS LF |  | 0.00123 | 604.3503 | 0 | 0 | No
DMD - Utility Plant | EFFLUENT PTA/PET |  | 491341.7208 | 0 | 0 | Dahej Manufacturing Division | CHEM CAT NUTRA A 81 H |  | 0.0362 | 17786.5703 | 0 | 0 | No
DMD - Utility Plant | EFFLUENT PTA/PET |  | 491341.7208 | 0 | 0 | Dahej Manufacturing Division | CHEM CAT WEXTREAT 7266 COAGULANT |  | 0.00116 | 569.9564 | 0 | 0 | No
DMD - Utility Plant | EFFLUENT PTA/PET |  | 491341.7208 | 0 | 0 | Dahej Manufacturing Division | CHEM CITRIC ACID ANHYDROUS |  | 0.0379 | 18621.8512 | 0 | 0 | No
DMD - Utility Plant | EFFLUENT PTA/PET |  | 491341.7208 | 0 | 0 | Dahej Manufacturing Division | CHEM NEUTRA-J-53-H |  | 0.0362 | 17786.5703 | 0 | 0 | No
DMD - Utility Plant | EFFLUENT PTA/PET |  | 491341.7208 | 0 | 0 | Dahej Manufacturing Division | CHEM POTASSIUM CHLORIDE(KCI) |  | 0.0031 | 1523.1593 | 0 | 0 | No
DMD - Utility Plant | EFFLUENT PTA/PET |  | 491341.7208 | 0 | 0 | Dahej Manufacturing Division | CHEM SODIUM DO DECYL SULPHATE |  | 0.0002 | 98.2683 | 0 | 0 | No
DMD - Utility Plant | EFFLUENT PTA/PET |  | 491341.7208 | 0 | 0 | Dahej Manufacturing Division | CHEM SODIUM HYPOCHLORITE |  | 0.07 | 34393.9205 | 0 | 0 | No
DMD - Utility Plant | EFFLUENT PTA/PET |  | 491341.7208 | 0 | 0 | Dahej Manufacturing Division | CHEM SODIUM META BI SULPHIDE;SMBS |  | 0.0287 | 14101.5074 | 0 | 0 | No
DMD - Utility Plant | EFFLUENT PTA/PET |  | 491341.7208 | 0 | 0 | Dahej Manufacturing Division | CHEM ZETAG-8165 |  | 0.0035 | 1719.696 | 0 | 0 | No
DMD - Utility Plant | EFFLUENT PTA/PET |  | 491341.7208 | 0 | 0 | DMD - Utility Plant | Cooling water D9 |  | 0.0023 | 1130.086 | 0 | 0 | No
DMD - Utility Plant | EFFLUENT PTA/PET |  | 491341.7208 | 0 | 0 | Dahej Manufacturing Division | EDTA DISODIUM SALT |  | 9e-06 | 4.4221 | 0 | 0 | No
DMD - Utility Plant | EFFLUENT PTA/PET |  | 491341.7208 | 0 | 0 | Dahej Manufacturing Division | FERRIC CHLORIDE,SOLUTION,FECL3 |  | 0.07 | 34393.9205 | 0 | 0 | No
DMD - Utility Plant | EFFLUENT PTA/PET |  | 491341.7208 | 0 | 0 | DMD - Utility Plant | Filter Water |  | 0.008 | 3930.7338 | 0 | 0 | No
DMD - Utility Plant | EFFLUENT PTA/PET |  | 491341.7208 | 0 | 0 | Dahej Manufacturing Division | GLYCERINE;GRADE:LR |  | 0.0001 | 49.1342 | 0 | 0 | No
DMD - Utility Plant | EFFLUENT PTA/PET |  | 491341.7208 | 0 | 0 | DMD - Utility Plant | HP Air |  | 0.03584 | 17609.6873 | 0 | 0 | No
DMD - Utility Plant | EFFLUENT PTA/PET |  | 491341.7208 | 0 | 0 | DMD - Utility Plant | HP Instrument Air |  | 0.21 | 103181.7614 | 0 | 0 | No
DMD - Utility Plant | EFFLUENT PTA/PET |  | 491341.7208 | 0 | 0 | DMD - EDC/VCM | HYDRO CHLORIC ACID (25%) |  | 0.0015 | 737.0126 | 0 | 0 | No
DMD - Utility Plant | EFFLUENT PTA/PET |  | 491341.7208 | 0 | 0 | DMD - Utility/Power Dist | LP Steam_Dis |  | 2e-05 | 9.8268 | 0 | 0 | No
DMD - Utility Plant | EFFLUENT PTA/PET |  | 491341.7208 | 0 | 0 | Dahej Manufacturing Division | MEGAFLOC ANIONIC PASTE |  | 0.0005 | 245.6709 | 0 | 0 | No
DMD - Utility Plant | EFFLUENT PTA/PET |  | 491341.7208 | 0 | 0 | DMD - Utility Plant | Nitrogen Gas |  | 0.0001 | 49.1342 | 0 | 0 | No
DMD - Utility Plant | EFFLUENT PTA/PET |  | 491341.7208 | 0 | 0 | Dahej Manufacturing Division | OSMOTECH 1060,ANTISCALANT |  | 0.0041 | 2014.5011 | 0 | 0 | No
DMD - Utility Plant | EFFLUENT PTA/PET |  | 491341.7208 | 0 | 0 | Dahej Manufacturing Division | PHOSPHORIC ACID,H3PO4 |  | 0.0197 | 9679.4319 | 0 | 0 | No
DMD - Utility Plant | EFFLUENT PTA/PET |  | 491341.7208 | 0 | 0 | DMD - Utility/Power Dist | Power_Dis |  | 3.9 | 1916232.7111 | 0 | 0 | No
DMD - Utility Plant | EFFLUENT PTA/PET |  | 491341.7208 | 0 | 0 | Dahej Manufacturing Division | SHREEFLOCK 7603 CATIONIC POLYMER |  | 0.00116 | 569.9564 | 0 | 0 | No
DMD - Utility Plant | EFFLUENT PTA/PET |  | 491341.7208 | 0 | 0 | Dahej Manufacturing Division | SODIUM SULPHDE |  | 0.0286 | 14052.3732 | 0 | 0 | No
DMD - Utility Plant | EFFLUENT PTA/PET |  | 491341.7208 | 0 | 0 | Dahej Manufacturing Division | SPECTRAGUARD-EC |  | 0.00123 | 604.3503 | 0 | 0 | No
DMD - Utility Plant | EFFLUENT PTA/PET |  | 491341.7208 | 0 | 0 | Dahej Manufacturing Division | UREA,NITROGEN CONTENT 46% |  | 0.0583 | 28645.2223 | 0 | 0 | No
DMD - Utility Plant | EFFLUENT PTA/PET |  | 491341.7208 | 0 | 0 | Dahej Manufacturing Division | ZETAG 4139 |  | 0.0005 | 245.6709 | 0 | 0 | No
DMD - Utility Plant | Filter Water |  | 4386763.2639 | 0 | 0 | Dahej Manufacturing Division | ANIONIC POLYELECTROLYTE (AQUATREAT 7595) |  | 2e-05 | 87.7353 | 0 | 0 | No
DMD - Utility Plant | Filter Water |  | 4386763.2639 | 0 | 0 | Dahej Manufacturing Division | CHEM CHLORINE |  | 0.001 | 4386.7633 | 0 | 0 | No
DMD - Utility Plant | Filter Water |  | 4386763.2639 | 0 | 0 | DMD - Utility Plant | Filter Water |  | 0.02 | 87735.2653 | 0 | 0 | No
DMD - Utility Plant | Filter Water |  | 4386763.2639 | 0 | 0 | Dahej Manufacturing Division | POWDER ; POLY ALUMINIUM CHLORIDE P |  | 0.0085 | 37287.4877 | 0 | 0 | No
DMD - Utility Plant | Filter Water |  | 4386763.2639 | 0 | 0 | DMD - Utility/Power Dist | Power_Dis |  | 0.07 | 307073.4285 | 0 | 0 | No
DMD - Utility Plant | Filter Water |  | 4386763.2639 | 0 | 0 | DMD - Utility Plant | Raw water |  | 1 | 4386763.2639 | 0 | 0 | No
DMD - Utility Plant | Filter Water |  | 4386763.2639 | 0 | 0 | Dahej Manufacturing Division | SAND,FILTER,SIZE: 0.8 TO 1 MM |  | 0.0015 | 6580.1449 | 0 | 0 | No
DMD - Utility Plant | HP Air |  | 17609.6873 | 0 | 0 | DMD - Utility Plant | Cooling water D9 |  | 5.2e-05 | 0.9157 | 0 | 0 | No
DMD - Utility Plant | HP Air |  | 17609.6873 | 0 | 0 | DMD - Utility/Power Dist | Power_Dis |  | 0.21 | 3698.0343 | 0 | 0 | No
DMD - Utility Plant | HP Instrument Air |  | 103181.7614 | 0 | 0 | DMD - Utility Plant | Cooling water D9 |  | 5.3e-05 | 5.4686 | 0 | 0 | No
DMD - Utility Plant | HP Instrument Air |  | 103181.7614 | 0 | 0 | DMD - Utility/Power Dist | Power_Dis |  | 0.19687 | 20313.9093 | 0 | 0 | No
DMD - Utility Plant | HRSG1_SHP STEAM |  | 84320 | 0 | 0 | DMD - Utility Plant | Boiler Feed Water |  | 1.01 | 85163.2 | 0 | 0 | No
DMD - Utility Plant | HRSG1_SHP STEAM |  | 84320 | 0 | 0 | NMD - Utility Plant | Boiler Feed Water |  | 1.1614 | 97926.3811 | 0 | 0 | No
DMD - Utility Plant | HRSG1_SHP STEAM |  | 84320 | 0 | 0 | Dahej Manufacturing Division | CHEM TRISODIUM PHOSPHATE |  | 0.002 | 168.64 | 0 | 0 | No
DMD - Utility Plant | HRSG1_SHP STEAM |  | 84320 | 0 | 0 | NMD-Rev Proc | CHEM TRISODIUM PHOSPHATE |  | 0.0001 | 8.432 | 0 | 0 | No
DMD - Utility Plant | HRSG1_SHP STEAM |  | 84320 | 0 | 0 | NMD - Utility Plant | COMPRESSED AIR |  | 14.3234 | 1207746.8114 | 0 | 0 | No
DMD - Utility Plant | HRSG1_SHP STEAM |  | 84320 | 0 | 0 | DMD - Utility Plant | Cooling water D2 |  | 0.00202 | 170.3264 | 0 | 0 | No
DMD - Utility Plant | HRSG1_SHP STEAM |  | 84320 | 0 | 0 | NMD-Rev Proc | FURNACE OIL ( MEDIUM VISCOSITY GRADE ) |  | 9.8e-05 | 8.2634 | 0 | 0 | No
DMD - Utility Plant | HRSG1_SHP STEAM |  | 84320 | 0 | 0 | DMD - Utility Plant | Instrument air |  | 1.1 | 92752 | 0 | 0 | No
DMD - Utility Plant | HRSG1_SHP STEAM |  | 84320 | 0 | 0 | NMD - Utility/Power Dist | LP Steam_Dis |  | 0.012124 | 1022.2957 | 0 | 0 | No
DMD - Utility Plant | HRSG1_SHP STEAM |  | 84320 | 0 | 0 | Dahej Manufacturing Division | NATURAL GAS |  | 2.8939 | 244016.1776 | 0 | 0 | No
DMD - Utility Plant | HRSG1_SHP STEAM |  | 84320 | 0 | 0 | NMD-Rev Proc | NATURAL GAS |  | 2.8116 | 237071.5824 | 0 | 0 | No
DMD - Utility Plant | HRSG1_SHP STEAM |  | 84320 | 0 | 0 | DMD - Utility/Power Dist | Power_Dis |  | 14.96 | 1261427.2 | 0 | 0 | No
DMD - Utility Plant | HRSG1_SHP STEAM |  | 84320 | 0 | 0 | NMD-Rev Proc | Water |  | 0.00266 | 224.2912 | 0 | 0 | No
DMD - Utility Plant | HRSG2_SHP STEAM |  | 95200 | 46035.6399 | 106.7963 | Dahej Manufacturing Division | AQUATREAT - 9240 MEKO OXYGEN SCAVENGER |  | 0.000299 | 28.4648 | 0 | 0 | No
DMD - Utility Plant | HRSG2_SHP STEAM |  | 95200 | 46035.6399 | 106.7963 | Dahej Manufacturing Division | AQUATREAT 3337 |  | 6.1e-05 | 5.8072 | 0 | 0 | No
DMD - Utility Plant | HRSG2_SHP STEAM |  | 95200 | 46035.6399 | 106.7963 | Dahej Manufacturing Division | AQUATREAT 3391 |  | 8.3e-05 | 7.9016 | 0 | 0 | No
DMD - Utility Plant | HRSG2_SHP STEAM |  | 95200 | 46035.6399 | 106.7963 | NMD - Utility Plant | Boiler Feed Water |  | 1.0573 | 100653.2464 | 47140.4948 | 113.5176 | No
DMD - Utility Plant | HRSG2_SHP STEAM |  | 95200 | 46035.6399 | 106.7963 | Dahej Manufacturing Division | CHEM AQUATREAT 1198 |  | 0.001722 | 163.9344 | 0 | 0 | No
DMD - Utility Plant | HRSG2_SHP STEAM |  | 95200 | 46035.6399 | 106.7963 | Dahej Manufacturing Division | CHEM AQUATREAT 2505 |  | 0.000691 | 65.7832 | 0 | 0 | No
DMD - Utility Plant | HRSG2_SHP STEAM |  | 95200 | 46035.6399 | 106.7963 | Dahej Manufacturing Division | CHEM AQUATREAT 4650 |  | 0.000195 | 18.564 | 0 | 0 | No
DMD - Utility Plant | HRSG2_SHP STEAM |  | 95200 | 46035.6399 | 106.7963 | Dahej Manufacturing Division | CHEM CHLORINE |  | 0.002433 | 231.6216 | 0 | 0 | No
DMD - Utility Plant | HRSG2_SHP STEAM |  | 95200 | 46035.6399 | 106.7963 | Dahej Manufacturing Division | CHEM CYCLO HEXY |  | 0.001992 | 189.6384 | 0 | 0 | No
DMD - Utility Plant | HRSG2_SHP STEAM |  | 95200 | 46035.6399 | 106.7963 | Dahej Manufacturing Division | CHEM MORPHOLENE |  | 3e-06 | 0.2856 | 0 | 0 | No
DMD - Utility Plant | HRSG2_SHP STEAM |  | 95200 | 46035.6399 | 106.7963 | Dahej Manufacturing Division | CHEM SULPHURIC ACID 1.84 KG/M3 |  | 1.2e-05 | 1.1424 | 0 | 0 | No
DMD - Utility Plant | HRSG2_SHP STEAM |  | 95200 | 46035.6399 | 106.7963 | NMD-Rev Proc | CHEM TRISODIUM PHOSPHATE |  | 0.0009 | 85.68 | 0 | 0 | No
DMD - Utility Plant | HRSG2_SHP STEAM |  | 95200 | 46035.6399 | 106.7963 | Dahej Manufacturing Division | CHEM TRISODIUM PHOSPHATE |  | 0.001873 | 178.3096 | 0 | 0 | No
DMD - Utility Plant | HRSG2_SHP STEAM |  | 95200 | 46035.6399 | 106.7963 | NMD - Utility Plant | COMPRESSED AIR |  | 14.4406 | 1374745.9768 | 453600 | 203.0745 | No
DMD - Utility Plant | HRSG2_SHP STEAM |  | 95200 | 46035.6399 | 106.7963 | DMD - Utility Plant | D M Water |  | 1.3933 | 132645.3016 | 0 | 0 | No
DMD - Utility Plant | HRSG2_SHP STEAM |  | 95200 | 46035.6399 | 106.7963 | NMD-Rev Proc | FURNACE OIL ( MEDIUM VISCOSITY GRADE ) |  | 0.0001 | 9.52 | 4.5253 | 110.3726 | No
DMD - Utility Plant | HRSG2_SHP STEAM |  | 95200 | 46035.6399 | 106.7963 | DMD - Utility Plant | Filter Water |  | 0.20537 | 19550.9384 | 0 | 0 | No
DMD - Utility Plant | HRSG2_SHP STEAM |  | 95200 | 46035.6399 | 106.7963 | DMD - Utility Plant | Instrument air |  | 8.1833 | 779052.7304 | 0 | 0 | No
DMD - Utility Plant | HRSG2_SHP STEAM |  | 95200 | 46035.6399 | 106.7963 | NMD - Utility/Power Dist | LP Steam_Dis |  | 0.011287 | 1074.5224 | -2317.9865 | -146.3559 | No
DMD - Utility Plant | HRSG2_SHP STEAM |  | 95200 | 46035.6399 | 106.7963 | NMD-Rev Proc | NATURAL GAS |  | 2.6887 | 255966.5248 | 129193.529 | 98.1264 | No
DMD - Utility Plant | HRSG2_SHP STEAM |  | 95200 | 46035.6399 | 106.7963 | DMD - Utility/Power Dist | Power_Dis |  | 16.9966 | 1618073.6544 | 0 | 0 | No
DMD - Utility Plant | HRSG2_SHP STEAM |  | 95200 | 46035.6399 | 106.7963 | NMD-Rev Proc | Water |  | 0.0027 | 257.04 | 122.4548 | 109.906 | No
DMD - Utility Plant | HRSG3_SHP STEAM |  | 97920 | 47267.1343 | 107.163 | Dahej Manufacturing Division | AQUATREAT 3337 |  | 4.5e-05 | 4.4064 | 0 | 0 | No
DMD - Utility Plant | HRSG3_SHP STEAM |  | 97920 | 47267.1343 | 107.163 | Dahej Manufacturing Division | AQUATREAT 3391 |  | 6.1e-05 | 5.9731 | 0 | 0 | No
DMD - Utility Plant | HRSG3_SHP STEAM |  | 97920 | 47267.1343 | 107.163 | NMD - Utility Plant | Boiler Feed Water |  | 1.5191 | 148748.0198 | 48401.5453 | 207.3208 | No
DMD - Utility Plant | HRSG3_SHP STEAM |  | 97920 | 47267.1343 | 107.163 | Dahej Manufacturing Division | CARBOHYDRAZIDE OXYGEN SCAVENGER |  | 0.00078 | 76.3776 | 0 | 0 | No
DMD - Utility Plant | HRSG3_SHP STEAM |  | 97920 | 47267.1343 | 107.163 | Dahej Manufacturing Division | CHEM AQUATREAT 1198 |  | 0.001276 | 124.9459 | 0 | 0 | No
DMD - Utility Plant | HRSG3_SHP STEAM |  | 97920 | 47267.1343 | 107.163 | Dahej Manufacturing Division | CHEM AQUATREAT 2505 |  | 0.000512 | 50.135 | 0 | 0 | No
DMD - Utility Plant | HRSG3_SHP STEAM |  | 97920 | 47267.1343 | 107.163 | Dahej Manufacturing Division | CHEM AQUATREAT 3303 |  | 3.8e-05 | 3.721 | 0 | 0 | No
DMD - Utility Plant | HRSG3_SHP STEAM |  | 97920 | 47267.1343 | 107.163 | Dahej Manufacturing Division | CHEM AQUATREAT 4650 |  | 0.000144 | 14.1005 | 0 | 0 | No
DMD - Utility Plant | HRSG3_SHP STEAM |  | 97920 | 47267.1343 | 107.163 | Dahej Manufacturing Division | CHEM CHLORINE |  | 0.001802 | 176.4518 | 0 | 0 | No
DMD - Utility Plant | HRSG3_SHP STEAM |  | 97920 | 47267.1343 | 107.163 | Dahej Manufacturing Division | CHEM CYCLO HEXY |  | 0.002199 | 215.3261 | 0 | 0 | No
DMD - Utility Plant | HRSG3_SHP STEAM |  | 97920 | 47267.1343 | 107.163 | Dahej Manufacturing Division | CHEM MORPHOLENE |  | 3e-06 | 0.29376 | 0 | 0 | No
DMD - Utility Plant | HRSG3_SHP STEAM |  | 97920 | 47267.1343 | 107.163 | Dahej Manufacturing Division | CHEM SULPHURIC ACID 1.84 KG/M3 |  | 0.00246 | 240.8832 | 0 | 0 | No
DMD - Utility Plant | HRSG3_SHP STEAM |  | 97920 | 47267.1343 | 107.163 | NMD-Rev Proc | CHEM TRISODIUM PHOSPHATE |  | 0.0009 | 88.128 | 0 | 0 | No
DMD - Utility Plant | HRSG3_SHP STEAM |  | 97920 | 47267.1343 | 107.163 | Dahej Manufacturing Division | CHEM TRISODIUM PHOSPHATE |  | 0.002 | 195.84 | 0 | 0 | No
DMD - Utility Plant | HRSG3_SHP STEAM |  | 97920 | 47267.1343 | 107.163 | NMD - Utility Plant | COMPRESSED AIR |  | 14.0228 | 1373109.5405 | 453600 | 202.7137 | No
DMD - Utility Plant | HRSG3_SHP STEAM |  | 97920 | 47267.1343 | 107.163 | DMD - Utility Plant | D M Water |  | 1.3933 | 136435.1674 | 0 | 0 | No
DMD - Utility Plant | HRSG3_SHP STEAM |  | 97920 | 47267.1343 | 107.163 | NMD-Rev Proc | FURNACE OIL ( MEDIUM VISCOSITY GRADE ) |  | 0.0001 | 9.792 | 4.6464 | 110.7456 | No
DMD - Utility Plant | HRSG3_SHP STEAM |  | 97920 | 47267.1343 | 107.163 | DMD - Utility Plant | Filter Water |  | 0.02756 | 2698.6752 | 0 | 0 | No
DMD - Utility Plant | HRSG3_SHP STEAM |  | 97920 | 47267.1343 | 107.163 | DMD - Utility Plant | Instrument air |  | 8.3171 | 814407.2986 | 0 | 0 | No
DMD - Utility Plant | HRSG3_SHP STEAM |  | 97920 | 47267.1343 | 107.163 | NMD - Utility/Power Dist | LP Steam_Dis |  | 0.010594 | 1037.3645 | -2379.9947 | -143.5868 | No
DMD - Utility Plant | HRSG3_SHP STEAM |  | 97920 | 47267.1343 | 107.163 | NMD-Rev Proc | NATURAL GAS |  | 2.6887 | 263279.8541 | 133140.0961 | 97.7465 | No
DMD - Utility Plant | HRSG3_SHP STEAM |  | 97920 | 47267.1343 | 107.163 | DMD - Utility/Power Dist | Power_Dis |  | 24.87 | 2435270.4 | 0 | 0 | No
DMD - Utility Plant | HRSG3_SHP STEAM |  | 97920 | 47267.1343 | 107.163 | NMD-Rev Proc | Water |  | 0.0027 | 264.384 | 125.7306 | 110.2782 | No
DMD - Utility Plant | Instrument air |  | 1829503.268 | 0 | 0 | Dahej Manufacturing Division | CHEM ACTIVATED ALUMINA,TYPE F 200 1/8" |  | 0.000104 | 190.2683 | 0 | 0 | No
DMD - Utility Plant | Instrument air |  | 1829503.268 | 0 | 0 | DMD - Utility Plant | Cooling water D2 |  | 5e-05 | 91.4752 | 0 | 0 | No
DMD - Utility Plant | Instrument air |  | 1829503.268 | 0 | 0 | DMD - Utility Plant | Cooling water D5 |  | 5e-05 | 91.4752 | 0 | 0 | No
DMD - Utility Plant | Instrument air |  | 1829503.268 | 0 | 0 | DMD - Utility/Power Dist | Power_Dis |  | 0.19 | 347605.6209 | 0 | 0 | No
DMD - Utility Plant | Instrument air CCPP |  | 241243.76 | 0 | 0 | DMD - Utility Plant | Close-loop Cooling Water CCPP |  | 2.6e-05 | 6.2723 | 0 | 0 | No
DMD - Utility Plant | Instrument air CCPP |  | 241243.76 | 0 | 0 | DMD - Utility/Power Dist | POWER DIST. CCPP |  | 0.43 | 103734.8168 | 0 | 0 | No
DMD - Utility Plant | LP Steam PRDS |  | 192525.4062 | 13612.6558 | 1314.3119 | NMD - Utility Plant | Boiler Feed Water |  | 0.25 | 48131.3515 | 3403.1639 | 1314.3119 | No
DMD - Utility Plant | LP Steam PRDS |  | 192525.4062 | 13612.6558 | 1314.3119 | DMD - Utility Plant | Boiler Feed Water |  | 0.084 | 16172.1341 | 3403.1639 | 375.2088 | No
DMD - Utility Plant | LP Steam PRDS |  | 192525.4062 | 13612.6558 | 1314.3119 | DMD - Utility/Power Dist | MP Steam_Dis |  | 0.916 | 176353.272 | 10209.4918 | 1627.3462 | No
DMD - Utility Plant | LP Steam PRDS |  | 192525.4062 | 13612.6558 | 1314.3119 | NMD - Utility/Power Dist | MP Steam_Dis |  | 0.75 | 144394.0546 | 10209.4918 | 1314.3119 | No
DMD - Utility Plant | PLANT AIR |  | 939.7824 | 0 | 0 | DMD - Utility/Power Dist | Power_Dis |  | 0.14 | 131.5695 | 0 | 0 | No
DMD - Utility Plant | PLANT AIR CCPP |  | 123403.21 | 0 | 0 | DMD - Utility Plant | Close-loop Cooling Water CCPP |  | 1.7e-05 | 2.0979 | 0 | 0 | No
DMD - Utility Plant | PLANT AIR CCPP |  | 123403.21 | 0 | 0 | DMD - Utility/Power Dist | POWER DIST. CCPP |  | 0.42 | 51829.3482 | 0 | 0 | No
DMD - Utility Plant | R O Water |  | 1143452.9536 | 0 | 0 | Dahej Manufacturing Division | CHEM CAT ANTISCALANT GENESYS LF |  | 0.007644 | 8740.5544 | 0 | 0 | No
DMD - Utility Plant | R O Water |  | 1143452.9536 | 0 | 0 | Dahej Manufacturing Division | CHEM CITRIC ACID ANHYDROUS |  | 0.003938 | 4502.9177 | 0 | 0 | No
DMD - Utility Plant | R O Water |  | 1143452.9536 | 0 | 0 | Dahej Manufacturing Division | CHEM SODIUM META BI SULPHIDE;SMBS |  | 0.002625 | 3001.564 | 0 | 0 | No
DMD - Utility Plant | R O Water |  | 1143452.9536 | 0 | 0 | Dahej Manufacturing Division | EDTA DISODIUM SALT |  | 2e-06 | 2.2869 | 0 | 0 | No
DMD - Utility Plant | R O Water |  | 1143452.9536 | 0 | 0 | DMD - Utility Plant | Filter Water |  | 1.24 | 1417881.6624 | 0 | 0 | No
DMD - Utility Plant | R O Water |  | 1143452.9536 | 0 | 0 | Dahej Manufacturing Division | HYDRO CHLORIC ACID (25%) |  | 5.5e-05 | 62.8899 | 0 | 0 | No
DMD - Utility Plant | R O Water |  | 1143452.9536 | 0 | 0 | DMD - Utility/Power Dist | Power_Dis |  | 1.25 | 1429316.192 | 0 | 0 | No
DMD - Utility Plant | Raw water |  | 4386745.2247 | 0 | 0 | Dahej Manufacturing Division | Power |  | 0.32 | 1403758.4719 | 0 | 0 | No
DMD - Utility Plant | Raw water |  | 4386745.2247 | 0 | 0 | Dahej Manufacturing Division | Water |  | 1 | 4386745.2247 | 0 | 0 | No
DMD - Utility Plant | Service Water CCPP |  | 48853.7 | 0 | 0 | DMD - Utility Plant | Filter Water |  | 1 | 48853.7 | 0 | 0 | No
DMD - Utility Plant | Service Water CCPP |  | 48853.7 | 0 | 0 | DMD - Utility/Power Dist | POWER DIST. CCPP |  | 0.41625 | 20335.3526 | 0 | 0 | No
DMD - Utility/Power Dist | HP Steam_Dis |  | 424393.3505 | 4971.9116 | 8435.8184 | DMD - Utility Plant | HP Steam PRDS |  | 1 | 424393.3505 | 4971.9116 | 8435.8184 | No
DMD - Utility/Power Dist | HP Steam_Dis |  | 424393.3505 | 4971.9116 | 8435.8184 | NMD - Utility Plant | HP Steam PRDS |  | 1 | 424393.3505 | 4971.9116 | 8435.8184 | No
DMD - Utility/Power Dist | LP Steam_Dis |  | 175066.7609 | 35212.6558 | 397.17 | NMD - Utility Plant | LP Steam PRDS |  | 0.8869 | 155266.7102 | 13612.6558 | 1040.6056 | No
DMD - Utility/Power Dist | LP Steam_Dis |  | 175066.7609 | 35212.6558 | 397.17 | DMD - Utility Plant | LP Steam PRDS |  | 0.21284 | 37260.5091 | 13612.6558 | 173.7196 | No
DMD - Utility/Power Dist | LP Steam_Dis |  | 175066.7609 | 35212.6558 | 397.17 | NMD - Utility Plant | STG1_LP STEAM |  | 0.1131 | 19800.0507 | 21600 | -8.3331 | No
DMD - Utility/Power Dist | LP Steam_Dis |  | 175066.7609 | 35212.6558 | 397.17 | DMD - Utility Plant | STG1_LP STEAM |  | 0.3207 | 56143.385 | 21600 | 159.9231 | No
DMD - Utility/Power Dist | LP Steam_Dis |  | 175066.7609 | 35212.6558 | 397.17 | DMD - Utility Plant | STG2_LP STEAM |  | 0.46647 | 81663.0418 | 0 | 0 | No
DMD - Utility/Power Dist | POWER DIST. CCPP |  | 35084401.19 | 45347578.4612 | -22.6322 | DMD - STG 2 Coal Power Plant | POWERGEN |  | 0.36145 | 12681116.4725 | 0 | 0 | No
DMD - Utility/Power Dist | POWER DIST. CCPP |  | 35084401.19 | 45347578.4612 | -22.6322 | DMD - STG 1 Coal Power Plant | POWERGEN |  | 0.27711 | 9722168.245 | 0 | 0 | No
DMD - Utility/Power Dist | POWER DIST. CCPP |  | 35084401.19 | 45347578.4612 | -22.6322 | DMD - STG 3 Coal Power Plant | POWERGEN |  | 0.36145 | 12681116.4725 | 0 | 0 | No
DMD - Utility/Power Dist | Power_Dis |  | 92640000 | 45347578.4612 | 104.2887 | DMD - Utility/Power Dist | POWER DIST. CCPP |  | 0.85174 | 78905378.88 | 0 | 0 | No
DMD - Utility/Power Dist | Power_Dis |  | 92640000 | 45347578.4612 | 104.2887 | DMD - STG 2 Gas Power Plant | POWERGEN |  | 0.060568 | 5611019.52 | 0 | 0 | No
DMD - Utility/Power Dist | Power_Dis |  | 92640000 | 45347578.4612 | 104.2887 | DMD - STG 1 Gas Power Plant | POWERGEN |  | 0.085111 | 7884683.04 | 0 | 0 | No
DMD - Utility/Power Dist | Power_Dis |  | 92640000 | 45347578.4612 | 104.2887 | NMD - STG Power Plant | POWERGEN |  | 0.12851 | 11904981.12 | 10231200 | 16.3596 | No
DMD - Utility/Power Dist | Power_Dis |  | 92640000 | 45347578.4612 | 104.2887 | NMD - Power Plant 3 | POWERGEN |  | 0.2207 | 20445277.44 | 9052378.4612 | 125.8553 | No
DMD - Utility/Power Dist | Power_Dis |  | 92640000 | 45347578.4612 | 104.2887 | NMD - Power Plant 2 | POWERGEN |  | 0.22074 | 20449724.16 | 8064000 | 153.5928 | No
DMD - Utility/Power Dist | Power_Dis |  | 92640000 | 45347578.4612 | 104.2887 | DMD - GT Power Plant 1 | POWERGEN |  | 0.002579 | 238918.56 | 0 | 0 | No
DMD - Utility/Power Dist | Power_Dis |  | 92640000 | 45347578.4612 | 104.2887 | NMD-Rev Proc | Power from MEL |  | 0.43005 | 34560000 | 18000000 | 92 | No
DMD - Utility/Power Dist | Ret Condensate_Dis |  | 571726.4768 | 0 | 0 | DMD - EO / EG | Ret steam condensate |  | 0.15141 | 86565.1059 | 0 | 0 | No
DMD - Utility/Power Dist | Ret Condensate_Dis |  | 571726.4768 | 0 | 0 | DMD - CHLOR ALKALI | Ret steam condensate |  | 0.032598 | 18637.1397 | 0 | 0 | No
DMD - Utility/Power Dist | Ret Condensate_Dis |  | 571726.4768 | 0 | 0 | DMD - HDPE 1 | Ret steam condensate |  | 0.024353 | 13923.2549 | 0 | 0 | No
DMD - Utility/Power Dist | Ret Condensate_Dis |  | 571726.4768 | 0 | 0 | DMD - EDC/VCM | Ret steam condensate |  | 0.057841 | 33069.2311 | 0 | 0 | No
DMD - Utility/Power Dist | Ret Condensate_Dis |  | 571726.4768 | 0 | 0 | DMD - PVC | Ret steam condensate |  | 0.025792 | 14745.9693 | 0 | 0 | No
DMD - Utility/Power Dist | Ret Condensate_Dis |  | 571726.4768 | 0 | 0 | DMD - STG 1 Gas Power Plant | Ret steam condensate |  | 0.29715 | 169887.9509 | 0 | 0 | No
DMD - Utility/Power Dist | Ret Condensate_Dis |  | 571726.4768 | 0 | 0 | DMD - PTA 6 | Ret steam condensate |  | 0.20367 | 116445.2467 | 0 | 0 | No
DMD - Utility/Power Dist | Ret Condensate_Dis |  | 571726.4768 | 0 | 0 | DMD - PTA 5 | Ret steam condensate |  | 0.20718 | 118452.5784 | 0 | 0 | No
DMD - Utility/Power Dist | SHP Steam_Dis CCPP |  | 173741.77 | 4971.9116 | 3394.4662 | DMD - Utility Plant | CCPP1 SHP STEAM |  | 0.25 | 43435.4425 | 0 | 0 | No
DMD - Utility/Power Dist | SHP Steam_Dis CCPP |  | 173741.77 | 4971.9116 | 3394.4662 | DMD - Utility Plant | CCPP2 SHP STEAM |  | 0.25 | 43435.4425 | 0 | 0 | No
DMD - Utility/Power Dist | SHP Steam_Dis CCPP |  | 173741.77 | 4971.9116 | 3394.4662 | DMD - Utility Plant | CCPP3 SHP STEAM |  | 0.25 | 43435.4425 | 0 | 0 | No
DMD - Utility/Power Dist | SHP Steam_Dis CCPP |  | 173741.77 | 4971.9116 | 3394.4662 | DMD - Utility Plant | CCPP4 SHP STEAM |  | 0.25 | 43435.4425 | 0 | 0 | No
NMD - Power Plant 1 | POWERGEN |  | 12400000 | 0 | 0 | NMD - Utility Plant | COMPRESSED AIR |  | 0.004 | 49600 | 0 | 0 | No
NMD - Power Plant 1 | POWERGEN |  | 12400000 | 0 | 0 | NMD - Utility Plant | Cooling Water 2 |  | 1.1e-05 | 136.4 | 0 | 0 | No
NMD - Power Plant 1 | POWERGEN |  | 12400000 | 0 | 0 | NMD-Rev Proc | NATURAL GAS |  | 0.009472 | 97266.7419 | 0 | 0 | No
NMD - Power Plant 1 | POWERGEN |  | 12400000 | 0 | 0 | NMD - Utility/Power Dist | Power_Dis |  | 0.019625 | 243350 | 0 | 0 | No
NMD - Power Plant 2 | POWERGEN |  | 14000000 | 8064000 | 73.6111 | NMD - Utility Plant | COMPRESSED AIR |  | 0.003949 | 55286 | 30960 | 78.5724 | No
NMD - Power Plant 2 | POWERGEN |  | 14000000 | 8064000 | 73.6111 | NMD - Utility Plant | Cooling Water 2 |  | 1.1e-05 | 154 | 108 | 42.5926 | No
NMD - Power Plant 2 | POWERGEN |  | 14000000 | 8064000 | 73.6111 | NMD-Rev Proc | NATURAL GAS |  | 0.009512 | 110039.3667 | 81819.5296 | 34.4903 | No
NMD - Power Plant 2 | POWERGEN |  | 14000000 | 8064000 | 73.6111 | NMD - Utility/Power Dist | Power_Dis |  | 0.01987 | 278180 | 112896 | 146.4038 | No
NMD - Power Plant 3 | POWERGEN |  | 14400000 | 9052378.4612 | 59.0742 | NMD - Utility Plant | COMPRESSED AIR |  | 0.003997 | 57556.8 | 30960 | 85.907 | No
NMD - Power Plant 3 | POWERGEN |  | 14400000 | 9052378.4612 | 59.0742 | NMD - Utility Plant | Cooling Water 2 |  | 1.1e-05 | 158.4 | 108 | 46.6667 | No
NMD - Power Plant 3 | POWERGEN |  | 14400000 | 9052378.4612 | 59.0742 | NMD-Rev Proc | NATURAL GAS |  | 0.009449 | 112383.8696 | 85739.9177 | 31.0753 | No
NMD - Power Plant 3 | POWERGEN |  | 14400000 | 9052378.4612 | 59.0742 | NMD - Utility/Power Dist | Power_Dis |  | 0.020082 | 289180.8 | 126733.2985 | 128.1806 | No
NMD - STG Power Plant | POWERGEN |  | 17280000 | 10231200 | 68.8951 | NMD - Utility Plant | COMPRESSED AIR |  | 0.004357 | 75288.96 | 41040 | 83.4526 | No
NMD - STG Power Plant | POWERGEN |  | 17280000 | 10231200 | 68.8951 | NMD - Utility Plant | Cooling Water 2 |  | 0.000227 | 3922.56 | 2376 | 65.0909 | No
NMD - STG Power Plant | POWERGEN |  | 17280000 | 10231200 | 68.8951 | NMD - Utility/Power Dist | Power_Dis |  | 0.002561 | 44254.08 | 20462.4 | 116.2702 | No
NMD - STG Power Plant | POWERGEN |  | 17280000 | 10231200 | 68.8951 | NMD - Utility/Power Dist | SHP Steam_Dis |  | 0.004442 | 76757.76 | 36423.072 | 110.7394 | No
NMD - Utility Plant | Boiler Feed Water |  | 687023.0681 | 100907.317 | 580.8456 | Dahej Manufacturing Division | AQUATREAT - 9240 MEKO OXYGEN SCAVENGER |  | 0.0013 | 893.13 | 0 | 0 | No
NMD - Utility Plant | Boiler Feed Water |  | 687023.0681 | 100907.317 | 580.8456 | NMD-Rev Proc | CHEM CYCLO HEXY |  | 0.0001 | 68.7023 | 0 | 0 | No
NMD - Utility Plant | Boiler Feed Water |  | 687023.0681 | 100907.317 | 580.8456 | Dahej Manufacturing Division | CHEM CYCLO HEXY |  | 0.001 | 687.0231 | 0 | 0 | No
NMD - Utility Plant | Boiler Feed Water |  | 687023.0681 | 100907.317 | 580.8456 | NMD-Rev Proc | CHEM MORPHOLENE |  | 2e-06 | 1.374 | 0 | 0 | No
NMD - Utility Plant | Boiler Feed Water |  | 687023.0681 | 100907.317 | 580.8456 | Dahej Manufacturing Division | CHEM MORPHOLENE |  | 3e-06 | 2.0611 | 0 | 0 | No
NMD - Utility Plant | Boiler Feed Water |  | 687023.0681 | 100907.317 | 580.8456 | NMD - Utility Plant | Cooling Water 2 |  | 0.002072 | 1423.5118 | 108 | 1218.0665 | No
NMD - Utility Plant | Boiler Feed Water |  | 687023.0681 | 100907.317 | 580.8456 | NMD - Utility Plant | D M Water |  | 0.85571 | 587891.8226 | 86780.2926 | 577.4485 | No
NMD - Utility Plant | Boiler Feed Water |  | 687023.0681 | 100907.317 | 580.8456 | DMD - Utility Plant | D M Water |  | 0.9 | 618320.7613 | 86780.2926 | 612.5129 | No
NMD - Utility Plant | Boiler Feed Water |  | 687023.0681 | 100907.317 | 580.8456 | NMD-Rev Proc | KEM WATREAT B 70M |  | 0.00057 | 391.6031 | 0 | 0 | No
NMD - Utility Plant | Boiler Feed Water |  | 687023.0681 | 100907.317 | 580.8456 | NMD - Utility/Power Dist | LP Steam_Dis |  | 0.11494 | 78964.3704 | 14631.561 | 439.6852 | No
NMD - Utility Plant | Boiler Feed Water |  | 687023.0681 | 100907.317 | 580.8456 | DMD - Utility/Power Dist | LP Steam_Dis |  | 0.099 | 68015.2837 | 14631.561 | 364.8532 | No
NMD - Utility Plant | Boiler Feed Water |  | 687023.0681 | 100907.317 | 580.8456 | NMD - Utility/Power Dist | Power_Dis |  | 9.658 | 6635257.1126 | 958619.5118 | 592.168 | No
NMD - Utility Plant | Boiler Feed Water |  | 687023.0681 | 100907.317 | 580.8456 | DMD - Utility/Power Dist | Power_Dis |  | 154 | 105801552.4925 | 958619.5118 | 10936.8662 | No
NMD - Utility Plant | COMPRESSED AIR |  | 10403588.342 | 7108561.5246 | 46.3529 | NMD - Utility Plant | Cooling Water 2 |  | 1.9e-05 | 197.6682 | 175 | 12.9532 | No
NMD - Utility Plant | COMPRESSED AIR |  | 10403588.342 | 7108561.5246 | 46.3529 | NMD - Utility/Power Dist | Power_Dis |  | 0.17894 | 1861597.2907 | 1172912.6516 | 58.7158 | No
NMD - Utility Plant | Cooling Water 1 |  | 14286 | 15194.4203 | -5.9786 | NMD - Utility Plant | COMPRESSED AIR |  | 0.19763 | 2823.3422 | 1650 | 71.1116 | No
NMD - Utility Plant | Cooling Water 1 |  | 14286 | 15194.4203 | -5.9786 | NMD - Utility/Power Dist | Power_Dis |  | 244.695 | 3495713.3843 | 3722632.9212 | -6.0957 | No
NMD - Utility Plant | Cooling Water 1 |  | 14286 | 15194.4203 | -5.9786 | NMD-Rev Proc | SULPHURIC ACID |  | 0.000158 | 2.2572 | 2.4007 | -5.9786 | No
NMD - Utility Plant | Cooling Water 1 |  | 14286 | 15194.4203 | -5.9786 | NMD-Rev Proc | Water |  | 0.000158 | 2.2572 | 167898.342 | -99.9987 | No
NMD - Utility Plant | Cooling Water 2 |  | 14540.52 | 13409.8816 | 8.4314 | NMD - Utility Plant | COMPRESSED AIR |  | 0.13528 | 1967.0125 | 1650 | 19.2129 | No
NMD - Utility Plant | Cooling Water 2 |  | 14540.52 | 13409.8816 | 8.4314 | NMD - Utility/Power Dist | Power_Dis |  | 237.3584 | 3451314.7701 | 3352470.3679 | 2.9484 | No
NMD - Utility Plant | Cooling Water 2 |  | 14540.52 | 13409.8816 | 8.4314 | NMD-Rev Proc | SULPHURIC ACID |  | 0.000158 | 2.2974 | 2.1188 | 8.4314 | No
NMD - Utility Plant | Cooling Water 2 |  | 14540.52 | 13409.8816 | 8.4314 | NMD-Rev Proc | Water |  | 11.5 | 167215.9795 | 154213.6369 | 8.4314 | No
NMD - Utility Plant | D M Water |  | 3573304.2619 | 142796.4958 | 2402.3753 | Dahej Manufacturing Division | ACID CATION RESIN,INDION-236H |  | 0.0013 | 4645.2955 | 0 | 0 | No
NMD - Utility Plant | D M Water |  | 3573304.2619 | 142796.4958 | 2402.3753 | Dahej Manufacturing Division | BED SUP CAT RESIN T-50 SAC 0.42-0.85 |  | 0.0001 | 357.3304 | 0 | 0 | No
NMD - Utility Plant | D M Water |  | 3573304.2619 | 142796.4958 | 2402.3753 | Dahej Manufacturing Division | BED SUP CAT TULSION A23 670-710 0.3-1.2 |  | 0.002 | 7146.6085 | 0 | 0 | No
NMD - Utility Plant | D M Water |  | 3573304.2619 | 142796.4958 | 2402.3753 | Dahej Manufacturing Division | BED SUP CAT WAC RESIN CXO-9 730-770 |  | 0.0035 | 12506.5649 | 0 | 0 | No
NMD - Utility Plant | D M Water |  | 3573304.2619 | 142796.4958 | 2402.3753 | DMD - CHLOR ALKALI | CAUSTIC SODA LYE – GRADE 1 |  | 0.0002 | 714.6609 | 0 | 0 | No
NMD - Utility Plant | D M Water |  | 3573304.2619 | 142796.4958 | 2402.3753 | NMD-Rev Proc | CAUSTIC SODA LYE – GRADE 1 |  | 0.0008 | 2858.6434 | 0 | 0 | No
NMD - Utility Plant | D M Water |  | 3573304.2619 | 142796.4958 | 2402.3753 | NMD-Rev Proc | CHEM SODIUM SULPHITE;PN:MIS 19OX |  | 0.000701 | 2504.8863 | 0 | 0 | No
NMD - Utility Plant | D M Water |  | 3573304.2619 | 142796.4958 | 2402.3753 | Dahej Manufacturing Division | CHEM ACTIVATED CARBON, IODINE NO. 900 |  | 0.01 | 35733.0426 | 0 | 0 | No
NMD - Utility Plant | D M Water |  | 3573304.2619 | 142796.4958 | 2402.3753 | NMD-Rev Proc | CHEM ALUM.SULFATE, AL2(SO4)3,18H2O |  | 0.000757 | 2704.9913 | 0 | 0 | No
NMD - Utility Plant | D M Water |  | 3573304.2619 | 142796.4958 | 2402.3753 | Dahej Manufacturing Division | CHEM CAT RESIN DMW PROD T 42 H+ SAC RESI |  | 0.005 | 17866.5213 | 0 | 0 | No
NMD - Utility Plant | D M Water |  | 3573304.2619 | 142796.4958 | 2402.3753 | NMD - Utility Plant | COMPRESSED AIR |  | 0.087875 | 314004.112 | 10995.3302 | 2755.7952 | No
NMD - Utility Plant | D M Water |  | 3573304.2619 | 142796.4958 | 2402.3753 | DMD - Utility Plant | Cooling water D4 |  | 0.0012 | 4287.9651 | 0 | 0 | No
NMD - Utility Plant | D M Water |  | 3573304.2619 | 142796.4958 | 2402.3753 | DMD - Utility Plant | D M Water |  | 0.019 | 67892.781 | 0 | 0 | No
NMD - Utility Plant | D M Water |  | 3573304.2619 | 142796.4958 | 2402.3753 | DMD - Utility Plant | Filter Water |  | 0.75 | 2679978.1964 | 0 | 0 | No
NMD - Utility Plant | D M Water |  | 3573304.2619 | 142796.4958 | 2402.3753 | DMD - EDC/VCM | HYDRO CHLORIC ACID (25%) |  | 0.0008 | 2858.6434 | 0 | 0 | No
NMD - Utility Plant | D M Water |  | 3573304.2619 | 142796.4958 | 2402.3753 | NMD-Rev Proc | HYDRO CHLORIC ACID (30%) -VIRGIN |  | 0.00038 | 1357.8556 | 54.2627 | 2402.3753 | No
NMD - Utility Plant | D M Water |  | 3573304.2619 | 142796.4958 | 2402.3753 | DMD - Utility Plant | Instrument air |  | 0.04 | 142932.1705 | 0 | 0 | No
NMD - Utility Plant | D M Water |  | 3573304.2619 | 142796.4958 | 2402.3753 | NMD-Rev Proc | POLYELECTROLYTE |  | 0.000578 | 2065.3699 | 0 | 0 | No
NMD - Utility Plant | D M Water |  | 3573304.2619 | 142796.4958 | 2402.3753 | NMD - Utility/Power Dist | Power_Dis |  | 1.0877 | 3886529.3936 | 172783.76 | 2149.3604 | No
NMD - Utility Plant | D M Water |  | 3573304.2619 | 142796.4958 | 2402.3753 | DMD - Utility/Power Dist | Power_Dis |  | 0.73 | 2608512.1112 | 172783.76 | 1409.6975 | No
NMD - Utility Plant | D M Water |  | 3573304.2619 | 142796.4958 | 2402.3753 | DMD - Utility Plant | R O Water |  | 0.32 | 1143457.3638 | 0 | 0 | No
NMD - Utility Plant | D M Water |  | 3573304.2619 | 142796.4958 | 2402.3753 | Dahej Manufacturing Division | RESIN INDION 225 NA |  | 0.0009 | 3215.9738 | 0 | 0 | No
NMD - Utility Plant | D M Water |  | 3573304.2619 | 142796.4958 | 2402.3753 | DMD - Utility/Power Dist | Ret Condensate_Dis |  | 0.16 | 571728.6819 | 0 | 0 | No
NMD - Utility Plant | D M Water |  | 3573304.2619 | 142796.4958 | 2402.3753 | NMD - STG Power Plant | Ret steam condensate |  | 0.16434 | 587229.6758 | 28987.6887 | 1925.7899 | No
NMD - Utility Plant | D M Water |  | 3573304.2619 | 142796.4958 | 2402.3753 | NMD-Rev Proc | SODIUM CHLORIDE IS 797 GRADE1 |  | 1e-05 | 35.733 | 0 | 0 | No
NMD - Utility Plant | D M Water |  | 3573304.2619 | 142796.4958 | 2402.3753 | Dahej Manufacturing Division | STRONG BASE ANION RESIN INDION FFIP |  | 0.0006 | 2143.9826 | 0 | 0 | No
NMD - Utility Plant | D M Water |  | 3573304.2619 | 142796.4958 | 2402.3753 | Dahej Manufacturing Division | WBA RESIN TULSION A-2XMP |  | 0.0035 | 12506.5649 | 0 | 0 | No
NMD - Utility Plant | D M Water |  | 3573304.2619 | 142796.4958 | 2402.3753 | Dahej Manufacturing Division | WEAK BASE ANION RESIN INDION 850 |  | 0.01 | 35733.0426 | 0 | 0 | No
NMD - Utility Plant | D M Water |  | 3573304.2619 | 142796.4958 | 2402.3753 | NMD-Rev Proc | Water |  | 1.05 | 3751969.475 | 149936.3207 | 2402.3753 | No
NMD - Utility Plant | HP Steam PRDS |  | 848774.3103 | 4971.9116 | 16971.3877 | NMD - Utility Plant | Boiler Feed Water |  | 0.0768 | 65185.867 | 381.8428 | 16971.3877 | No
NMD - Utility Plant | HP Steam PRDS |  | 848774.3103 | 4971.9116 | 16971.3877 | DMD - Utility Plant | Boiler Feed Water |  | 0.0635 | 53897.1687 | 381.8428 | 14015.0145 | No
NMD - Utility Plant | HP Steam PRDS |  | 848774.3103 | 4971.9116 | 16971.3877 | NMD - Utility/Power Dist | SHP Steam_Dis |  | 0.9232 | 783588.4433 | 4590.0688 | 16971.3877 | No
NMD - Utility Plant | HP Steam PRDS |  | 848774.3103 | 4971.9116 | 16971.3877 | DMD - Utility/Power Dist | SHP Steam_Dis |  | 0.9365 | 794877.1416 | 4590.0688 | 17217.3251 | No
NMD - Utility Plant | MP Steam PRDS SHP |  | 453472.1622 | 17558.5567 | 2482.6278 | DMD - Utility Plant | Boiler Feed Water |  | 0.066902 | 30338.1946 | 1580.2701 | 1819.8107 | No
NMD - Utility Plant | MP Steam PRDS SHP |  | 453472.1622 | 17558.5567 | 2482.6278 | NMD - Utility Plant | Boiler Feed Water |  | 0.09 | 40812.4946 | 1580.2701 | 2482.6278 | No
NMD - Utility Plant | MP Steam PRDS SHP |  | 453472.1622 | 17558.5567 | 2482.6278 | DMD - Utility/Power Dist | HP Steam_Dis |  | 0.9331 | 423133.9676 | 0 | 0 | No
NMD - Utility Plant | MP Steam PRDS SHP |  | 453472.1622 | 17558.5567 | 2482.6278 | NMD - Utility/Power Dist | SHP Steam_Dis |  | 0.91 | 412659.6676 | 15978.2866 | 2482.6278 | No
NMD - Utility Plant | Oxygen |  | 5315 | 5786.7121 | -8.1516 | Dahej Manufacturing Division | CHEM ACTIVATED ALUMINA,TYPE F 200 1/8" |  | 0.044 | 233.86 | 0 | 0 | No
NMD - Utility Plant | Oxygen |  | 5315 | 5786.7121 | -8.1516 | NMD - Utility Plant | Cooling Water 2 |  | 0.10912 | 579.9887 | 1510.3319 | -61.5986 | No
NMD - Utility Plant | Oxygen |  | 5315 | 5786.7121 | -8.1516 | DMD - Utility Plant | Cooling water D2 |  | 0.03 | 159.45 | 0 | 0 | No
NMD - Utility Plant | Oxygen |  | 5315 | 5786.7121 | -8.1516 | DMD - Utility Plant | Cooling water D5 |  | 0.09 | 478.35 | 0 | 0 | No
NMD - Utility Plant | Oxygen |  | 5315 | 5786.7121 | -8.1516 | NMD - Utility/Power Dist | Power_Dis |  | 492.4029 | 2617121.2434 | 5605298.7109 | -53.3099 | No
NMD - Utility Plant | Oxygen |  | 5315 | 5786.7121 | -8.1516 | DMD - Utility/Power Dist | Power_Dis |  | 863 | 4586845 | 5605298.7109 | -18.1695 | No
NMD - Utility Plant | Oxygen |  | 5315 | 5786.7121 | -8.1516 | Dahej Manufacturing Division | SIEVE,MOLECULAR,13X1.5MM DIA.PELLETS |  | 0.05 | 265.75 | 0 | 0 | No
NMD - Utility Plant | POWERGEN |  | 0 | 0 | 0 | NMD - Utility Plant | Power_Dis |  | 0 | 0 | 0 | 0 | No
NMD - Utility/Power Dist | MP Steam_Dis |  | 341818.454 | 24758.5567 | 1280.6074 | NMD - Utility Plant | MP Steam PRDS SHP |  | 1 | 341818.454 | 17558.5567 | 1846.7344 | No
NMD - Utility/Power Dist | MP Steam_Dis |  | 341818.454 | 24758.5567 | 1280.6074 | DMD - Utility Plant | MP Steam PRDS SHP |  | 0.32666 | 111659.0998 | 17558.5567 | 535.9241 | No
NMD - Utility/Power Dist | MP Steam_Dis |  | 341818.454 | 24758.5567 | 1280.6074 | DMD - Utility Plant | STG1_MP STEAM |  | 0.20357 | 69582.9572 | 7200 | 866.43 | No
NMD - Utility/Power Dist | MP Steam_Dis |  | 341818.454 | 24758.5567 | 1280.6074 | DMD - Utility Plant | STG2_MP STEAM |  | 0.46977 | 160576.0552 | 0 | 0 | No
NMD - Utility/Power Dist | SHP Steam_Dis |  | 2087958.8008 | 93302.7736 | 2137.8314 | DMD - Utility Plant | HRSG1_SHP STEAM |  | 0.003108 | 6489.376 | 0 | 0 | No
NMD - Utility/Power Dist | SHP Steam_Dis |  | 2087958.8008 | 93302.7736 | 2137.8314 | NMD - Utility Plant | HRSG2_SHP STEAM |  | 0.5 | 1043979.4004 | 46035.6395 | 2167.7634 | No
NMD - Utility/Power Dist | SHP Steam_Dis |  | 2087958.8008 | 93302.7736 | 2137.8314 | NMD - Utility Plant | HRSG3_SHP STEAM |  | 0.5 | 1043979.4004 | 47267.1341 | 2108.6793 | No
NMD - Utility/Power Dist | SHP Steam_Dis |  | 2087958.8008 | 93302.7736 | 2137.8314 | DMD - Utility/Power Dist | SHP Steam_Dis CCPP |  | 0.99689 | 2081469.4248 | 0 | 0 | No