## FY Summary
Month | Year | Success | Assets | Norms | Exec Time (s) | Message
Apr | 2026 | OK | 3 | 0 | 2.69 | OK
May | 2026 | OK | 3 | 0 | 2.78 | OK
Jun | 2026 | OK | 3 | 0 | 2.87 | OK
Jul | 2026 | OK | 3 | 0 | 2.9 | OK
Aug | 2026 | OK | 3 | 0 | 2.17 | OK
Sep | 2026 | OK | 3 | 0 | 2.07 | OK
Oct | 2026 | OK | 3 | 0 | 2.12 | OK
Nov | 2026 | OK | 3 | 0 | 2.37 | OK
Dec | 2026 | OK | 3 | 0 | 2.38 | OK
Jan | 2027 | OK | 3 | 0 | 2.21 | OK
Feb | 2027 | OK | 3 | 0 | 2.29 | OK
Mar | 2027 | OK | 3 | 0 | 2.14 | OK

## Operational Hours FY
Asset | Type | AOP Year | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Jan | Feb | Mar | Total
JMD - C2-GTG 1 | GT | 2026-27 | 687 | 744 | 720 | 744 | 744 | 720 | 744 | 720 | 744 | 744 | 672 | 503 | 8486
JMD - C2-GTG 2 | GT | 2026-27 | 710 | 744 | 720 | 744 | 744 | 720 | 744 | 720 | 744 | 744 | 672 | 544 | 8550
JMD - C2-STG 1 | STG | 2026-27 | 719 | 744 | 720 | 744 | 744 | 720 | 744 | 720 | 744 | 744 | 672 | 440 | 8455

## Power Priority FY
Asset | Type | AOP Year | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Jan | Feb | Mar
JMD - C2-GTG 1 | GT | 2026-27 | 33 | 5 | 5 | 6 | 6 | 1 | 1 | 2 | 2 | 5 | 3 | 3
JMD - C2-GTG 2 | GT | 2026-27 | 2 | 1 | 4 | 2 | 5 | 3 | 6 | 1 | 4 | 2 | 5 | 2
JMD - C2-STG 1 | STG | 2026-27 | 1 | 1 | 4 | 2 | 5 | 3 | 6 | 1 | 4 | 2 | 7 | 3

## Steam Priority FY
Asset | Type | Steam Type | AOP Year | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Jan | Feb | Mar
AUXBOIL7_SHP STEAM | AUXBOILER | SHP Steam_Dis | 2026-27 | bar: Apr to Mar
AUXBOIL8_SHP STEAM | AUXBOILER | SHP Steam_Dis | 2026-27 | bar: Apr to Mar
HP Steam PRDS | PRDS | HP Steam_Dis | 2026-27 | bar: Apr to Mar
HRSG1_C2_LP STEAM | HRSG | LP Steam_Dis | 2026-27 | bar: Apr to Mar
HRSG1_C2_SHP STEAM | HRSG | SHP Steam_Dis | 2026-27 | bar: Apr to Mar
HRSG2_C2_LP STEAM | HRSG | LP Steam_Dis | 2026-27 | bar: Apr to Mar
HRSG2_C2_SHP STEAM | HRSG | SHP Steam_Dis | 2026-27 | bar: Apr to Mar
LP Steam PRDS | PRDS | LP Steam_Dis | 2026-27 | bar: Apr to Mar
MP Steam PRDS SHP | PRDS | MP Steam_Dis | 2026-27 | bar: Apr to Mar

## Apr 2026
Apr 2026 — Demands
Parameter | Value
power_process | 11813076
lp_process | 54000
mp_process | -127253
hp_process | -21599
shp_process | 219588
air_process | 7221792
nitrogen_asu_process | 4435199
dm_process | 72074
cw1_process | 0
cw2_process | 0
cooling_water_process | 47161
raw_water_process | 0
utility_water_process | 3548
ret_steam_condensate_process | -154158
oxygen_process | 0
effluent_process | 0
power_fixed_kwh | 20341283
power_fixed | 20341.283
lp_fixed | 4745
mp_fixed | 7925
hp_fixed | 238
shp_fixed | 94290
air_fixed | 1327713
nitrogen_asu_fixed | 1952800
dm_fixed | 55713
cw1_fixed | 0
cw2_fixed | 0
cooling_water_fixed | 10872
raw_water_fixed | 0
utility_water_fixed | 1523650
ret_steam_condensate_fixed | 1512
oxygen_fixed | 0
effluent_fixed | 131760
Apr 2026 — Import Power
Source | Capacity MW | Hours | MWh
TOTAL |  |  | 0
Apr 2026 — Norms

## May 2026
May 2026 — Demands
Parameter | Value
power_process | 12206845
lp_process | 55800
mp_process | -108357
hp_process | -22321
shp_process | 240320
air_process | 7261534
nitrogen_asu_process | 4583039
dm_process | 74475
cw1_process | 0
cw2_process | 0
cooling_water_process | 48732
raw_water_process | 0
utility_water_process | 3666
ret_steam_condensate_process | -159297
oxygen_process | 0
effluent_process | 0
power_fixed_kwh | 20843840
power_fixed | 20843.84
lp_fixed | 4903
mp_fixed | 8189
hp_fixed | 246
shp_fixed | 96120
air_fixed | 1361745
nitrogen_asu_fixed | 2006400
dm_fixed | 56770
cw1_fixed | 0
cw2_fixed | 0
cooling_water_fixed | 11234
raw_water_fixed | 0
utility_water_fixed | 168047
ret_steam_condensate_fixed | 1562
oxygen_fixed | 0
effluent_fixed | 136152
May 2026 — Import Power
Source | Capacity MW | Hours | MWh
TOTAL |  |  | 0
May 2026 — Norms

## Jun 2026
Jun 2026 — Demands
Parameter | Value
power_process | 11813078
lp_process | 53999
mp_process | -111032
hp_process | -21600
shp_process | 222777
air_process | 6673654
nitrogen_asu_process | 4435199
dm_process | 72073
cw1_process | 0
cw2_process | 0
cooling_water_process | 47161
raw_water_process | 0
utility_water_process | 3549
ret_steam_condensate_process | -154158
oxygen_process | 0
effluent_process | 0
power_fixed_kwh | 18319200
power_fixed | 18319.2
lp_fixed | 4320
mp_fixed | 7536
hp_fixed | 238
shp_fixed | 82694
air_fixed | 1227228
nitrogen_asu_fixed | 1855200
dm_fixed | 38293
cw1_fixed | 0
cw2_fixed | 0
cooling_water_fixed | 10872
raw_water_fixed | 0
utility_water_fixed | 162165
ret_steam_condensate_fixed | 1512
oxygen_fixed | 0
effluent_fixed | 131760
Jun 2026 — Import Power
Source | Capacity MW | Hours | MWh
TOTAL |  |  | 0
Jun 2026 — Norms

## Jul 2026
Jul 2026 — Demands
Parameter | Value
power_process | 12206848
lp_process | 55800
mp_process | -114152
hp_process | -22319
shp_process | 238661
air_process | 7444249
nitrogen_asu_process | 4583039
dm_process | 74475
cw1_process | 0
cw2_process | 0
cooling_water_process | 48733
raw_water_process | 0
utility_water_process | 3665
ret_steam_condensate_process | -159296
oxygen_process | 0
effluent_process | 0
power_fixed_kwh | 20188840
power_fixed | 20188.84
lp_fixed | 4903
mp_fixed | 8189
hp_fixed | 246
shp_fixed | 94082
air_fixed | 1339328
nitrogen_asu_fixed | 1990400
dm_fixed | 47543
cw1_fixed | 0
cw2_fixed | 0
cooling_water_fixed | 11234
raw_water_fixed | 0
utility_water_fixed | 168372
ret_steam_condensate_fixed | 1562
oxygen_fixed | 0
effluent_fixed | 136152
Jul 2026 — Import Power
Source | Capacity MW | Hours | MWh
TOTAL |  |  | 0
Jul 2026 — Norms

## Aug 2026
Aug 2026 — Demands
Parameter | Value
power_process | 13195504
lp_process | 55799
mp_process | -107613
hp_process | -22320
shp_process | 235343
air_process | 7589250
nitrogen_asu_process | 6398402
dm_process | 74475
cw1_process | 0
cw2_process | 0
cooling_water_process | 48733
raw_water_process | 0
utility_water_process | 3666
ret_steam_condensate_process | -159297
oxygen_process | 0
effluent_process | 0
power_fixed_kwh | 20910840
power_fixed | 20910.84
lp_fixed | 4903
mp_fixed | 8189
hp_fixed | 246
shp_fixed | 96657
air_fixed | 1365610
nitrogen_asu_fixed | 2011200
dm_fixed | 57036
cw1_fixed | 0
cw2_fixed | 0
cooling_water_fixed | 11234
raw_water_fixed | 0
utility_water_fixed | 168113
ret_steam_condensate_fixed | 1562
oxygen_fixed | 0
effluent_fixed | 136152
Aug 2026 — Import Power
Source | Capacity MW | Hours | MWh
TOTAL |  |  | 0
Aug 2026 — Norms

## Sep 2026
Sep 2026 — Demands
Parameter | Value
power_process | 11813079
lp_process | 54000
mp_process | -111889
hp_process | -21600
shp_process | 226473
air_process | 6673654
nitrogen_asu_process | 4435201
dm_process | 72073
cw1_process | 0
cw2_process | 0
cooling_water_process | 47159
raw_water_process | 0
utility_water_process | 3548
ret_steam_condensate_process | -154157
oxygen_process | 0
effluent_process | 0
power_fixed_kwh | 18677200
power_fixed | 18677.2
lp_fixed | 4745
mp_fixed | 7925
hp_fixed | 238
shp_fixed | 83595
air_fixed | 1238050
nitrogen_asu_fixed | 1862400
dm_fixed | 43774
cw1_fixed | 0
cw2_fixed | 0
cooling_water_fixed | 10872
raw_water_fixed | 0
utility_water_fixed | 161924
ret_steam_condensate_fixed | 1512
oxygen_fixed | 0
effluent_fixed | 131760
Sep 2026 — Import Power
Source | Capacity MW | Hours | MWh
TOTAL |  |  | 0
Sep 2026 — Norms

## Oct 2026
Oct 2026 — Demands
Parameter | Value
power_process | 12206845
lp_process | 55799
mp_process | -108460
hp_process | -22320
shp_process | 222122
air_process | 7261533
nitrogen_asu_process | 4583039
dm_process | 74475
cw1_process | 0
cw2_process | 0
cooling_water_process | 48731
raw_water_process | 0
utility_water_process | 3666
ret_steam_condensate_process | -159296
oxygen_process | 0
effluent_process | 0
power_fixed_kwh | 19574840
power_fixed | 19574.84
lp_fixed | 4903
mp_fixed | 8189
hp_fixed | 246
shp_fixed | 91718
air_fixed | 1315365
nitrogen_asu_fixed | 1971200
dm_fixed | 39847
cw1_fixed | 0
cw2_fixed | 0
cooling_water_fixed | 11234
raw_water_fixed | 0
utility_water_fixed | 168538
ret_steam_condensate_fixed | 1562
oxygen_fixed | 0
effluent_fixed | 136152
Oct 2026 — Import Power
Source | Capacity MW | Hours | MWh
TOTAL |  |  | 0
Oct 2026 — Norms

## Nov 2026
Nov 2026 — Demands
Parameter | Value
power_process | 11813077
lp_process | 54000
mp_process | -103550
hp_process | -21600
shp_process | 214703
air_process | 7221792
nitrogen_asu_process | 4435199
dm_process | 72073
cw1_process | 0
cw2_process | 0
cooling_water_process | 47160
raw_water_process | 0
utility_water_process | 3547
ret_steam_condensate_process | -154157
oxygen_process | 0
effluent_process | 0
power_fixed_kwh | 20341200
power_fixed | 20341.2
lp_fixed | 4745
mp_fixed | 7925
hp_fixed | 238
shp_fixed | 94290
air_fixed | 1327718
nitrogen_asu_fixed | 1952800
dm_fixed | 55790
cw1_fixed | 0
cw2_fixed | 0
cooling_water_fixed | 10872
raw_water_fixed | 0
utility_water_fixed | 162767
ret_steam_condensate_fixed | 1512
oxygen_fixed | 0
effluent_fixed | 131760
Nov 2026 — Import Power
Source | Capacity MW | Hours | MWh
TOTAL |  |  | 0
Nov 2026 — Norms

## Dec 2026
Dec 2026 — Demands
Parameter | Value
power_process | 12206853
lp_process | 55799
mp_process | -101020
hp_process | -22320
shp_process | 226034
air_process | 7078826
nitrogen_asu_process | 4583042
dm_process | 74475
cw1_process | 0
cw2_process | 0
cooling_water_process | 48732
raw_water_process | 0
utility_water_process | 3666
ret_steam_condensate_process | -159297
oxygen_process | 0
effluent_process | 0
power_fixed_kwh | 19851840
power_fixed | 19851.84
lp_fixed | 4903
mp_fixed | 8189
hp_fixed | 246
shp_fixed | 88987
air_fixed | 1303770
nitrogen_asu_fixed | 1945600
dm_fixed | 51169
cw1_fixed | 0
cw2_fixed | 0
cooling_water_fixed | 11234
raw_water_fixed | 0
utility_water_fixed | 167316
ret_steam_condensate_fixed | 1562
oxygen_fixed | 0
effluent_fixed | 136152
Dec 2026 — Import Power
Source | Capacity MW | Hours | MWh
TOTAL |  |  | 0
Dec 2026 — Norms

## Jan 2027
Jan 2027 — Demands
Parameter | Value
power_process | 12206845
lp_process | 55800
mp_process | -40064
hp_process | -22321
shp_process | 194348
air_process | 7261533
nitrogen_asu_process | 4583039
dm_process | 74475
cw1_process | 0
cw2_process | 0
cooling_water_process | 48733
raw_water_process | 0
utility_water_process | 3666
ret_steam_condensate_process | -159297
oxygen_process | 0
effluent_process | 0
power_fixed_kwh | 19079840
power_fixed | 19079.84
lp_fixed | 4903
mp_fixed | 8189
hp_fixed | 246
shp_fixed | 92415
air_fixed | 1287537
nitrogen_asu_fixed | 1942400
dm_fixed | 36706
cw1_fixed | 0
cw2_fixed | 0
cooling_water_fixed | 11234
raw_water_fixed | 0
utility_water_fixed | 168224
ret_steam_condensate_fixed | 1562
oxygen_fixed | 0
effluent_fixed | 136152
Jan 2027 — Import Power
Source | Capacity MW | Hours | MWh
TOTAL |  |  | 0
Jan 2027 — Norms

## Feb 2027
Feb 2027 — Demands
Parameter | Value
power_process | 11873344
lp_process | 50399
mp_process | -101802
hp_process | -20160
shp_process | 221565
air_process | 6725137
nitrogen_asu_process | 5779199
dm_process | 67269
cw1_process | 0
cw2_process | 0
cooling_water_process | 44016
raw_water_process | 0
utility_water_process | 3312
ret_steam_condensate_process | -143881
oxygen_process | 0
effluent_process | 0
power_fixed_kwh | 18267920
power_fixed | 18267.92
lp_fixed | 4429
mp_fixed | 7437
hp_fixed | 222
shp_fixed | 85115
air_fixed | 1210915
nitrogen_asu_fixed | 1799200
dm_fixed | 43326
cw1_fixed | 0
cw2_fixed | 0
cooling_water_fixed | 10147
raw_water_fixed | 0
utility_water_fixed | 152073
ret_steam_condensate_fixed | 1411
oxygen_fixed | 0
effluent_fixed | 122976
Feb 2027 — Import Power
Source | Capacity MW | Hours | MWh
TOTAL |  |  | 0
Feb 2027 — Norms

## Mar 2027
Mar 2027 — Demands
Parameter | Value
power_process | 12206847
lp_process | 55800
mp_process | -112463
hp_process | -22320
shp_process | 238689
air_process | 7261534
nitrogen_asu_process | 4583038
dm_process | 74476
cw1_process | 0
cw2_process | 0
cooling_water_process | 48732
raw_water_process | 0
utility_water_process | 3667
ret_steam_condensate_process | -159296
oxygen_process | 0
effluent_process | 0
power_fixed_kwh | 21035840
power_fixed | 21035.84
lp_fixed | 4903
mp_fixed | 8189
hp_fixed | 460
shp_fixed | 97558
air_fixed | 1373340
nitrogen_asu_fixed | 2019200
dm_fixed | 57726
cw1_fixed | 0
cw2_fixed | 0
cooling_water_fixed | 11234
raw_water_fixed | 0
utility_water_fixed | 168207
ret_steam_condensate_fixed | 1562
oxygen_fixed | 0
effluent_fixed | 136152
Mar 2027 — Import Power
Source | Capacity MW | Hours | MWh
TOTAL |  |  | 0
Mar 2027 — Norms